OTF-27 - Nightstand

**Description**

*Nightstand for hospitalized patients*

**Reference Picture:**

*Note: The images below are intended solely as a guiding support and should be considered as purely indicative and not restrictive of the expected item characteristics*



| Brand / Marque | |  | |
| --- | --- | --- | --- |
| Model / Modèle | |  | |
| Model code as per manufacturer classification / Numéro de référence du produit fournisseur | |  | |
| Manufacturer name / Nom du Fabricant | |  | |
| Manufacturing site / Site du Fabricant | |  | |
| Country of manufacturing / Pays de fabrication | |  | |
| Country of origin / Pays d'origine | |  | |

|  | **UNOPS Minimum technical requirements // Exigences techniques minimales de l'UNOPS** | **Complies (Yes/No) // Conforme (Oui/Non)** | **Comments/ Technical data //**  **Commentaires/Données techniques** |
| --- | --- | --- | --- |
| **A** | **Functionality and Performance / Fonctionnalité et performances** |  |  |
| 1 | Structure Material: Epoxy coated steel, ABS high impact strength or similar |  |  |
| 2 | All materials resistant to corrosion and for the use of hospital-grade disinfectants. |  |  |
| 3 | Two compartments:   1. One upper drawer; 2. Lower compartment with a door. |  |  |
| 4 | All compartments with handles. |  |  |
| 5 | All the drawers with ball-bearing metal slides |  |  |
| 6 | Mounted on 4 swivel wheels. At least two with brakes. |  |  |
| 7 | Approximate size: 470 mm (L) x 470 mm (W) x 755 mm (H). |  |  |
| **B** | **Certifications and post sales included in the offered price** |  |  |
| 1 | The Supplier, included in the offered price, will provide the post sales services described in the document “OT-PS Type 0 post sales requirements for Non Medical Items”. |  |  |
| C | **Supplied with** |  |  |
| 1 | Detailed step-by-step instructions for assembly and cleaning in pictograms. |  |  |
| 2 | Tools required for assembly. |  |  |
| **D** | **ANY DEVIATIONS OR SUPERIOR CHARACTERISTICS MUST BE INDICATED BELOW // TOUTE DÉVIATION OU CARACTÉRISTIQUE SUPÉRIEURE DOIT ÊTRE INDIQUÉE CI-DESSOUS\* :** | | |
|  | | |