OTS-32 - Complete intubation equipment

**Description**

*Set of instruments and devices for patient airway intubation.*

**Reference Picture:**

*Note: The images below are intended solely as a guiding support and should be considered as purely indicative and not restrictive of the expected item characteristics*



| Brand / Marque | |  | |
| --- | --- | --- | --- |
| Model / Modèle | |  | |
| Model code as per manufacturer classification / Numéro de référence du produit fournisseur | |  | |
| Manufacturer name / Nom du Fabricant | |  | |
| Manufacturing site / Site du Fabricant | |  | |
| Country of manufacturing / Pays de fabrication | |  | |
| Country of origin / Pays d'origine | |  | |

|  | **UNOPS Minimum technical requirements // Exigences techniques minimales de l'UNOPS** | **Complies (Yes/No) // Conforme (Oui/Non)** | **Comments/ Technical data //**  **Commentaires/Données techniques** |
| --- | --- | --- | --- |
| **A** | **Functionality and Performance / Fonctionnalité et performances** |  |  |
|  | **The Intubation Set shall be composed at least of the following items:** |  |  |
|  | 1. **Laryngoscope** |  |  |
| 1 | 1 Mc-intosh set of detachable, reusable and fiberoptic blades (stainless steel) sizes 4/3/2. |  |  |
| 2 | 1 Miller set of detachable, reusable and fiberoptic blades (stainless steel) sizes 4/3/2/1/0. |  |  |
| 3 | Pediatric Laryngoscope Handle with battery container (commercial batteries) supplied with 5 spare bulbs. |  |  |
| 4 | Adult Laryngoscope Handle with battery container (commercial batteries) supplied with 5 spare bulbs. |  |  |
|  | 1. **Accessories included in the offered price:** |  |  |
| 1 | 1 Oropharyngeal airway (e.g. Guedel airway), sizes: 40, 50, 60, 70, 80, 90, 100 and 110 mm. |  |  |
| 2 | 6 Endotracheal uncuffed tubes, Ø internal size: 2, 2.5, 3, 3.5, 4 and 4.5 mm |  |  |
| 3 | 7 Endotracheal cuffed tubes, Ø internal size: 5, 5.5, 6, 6.5, 7, 7.5 and 8mm |  |  |
| 4 | 6 Laryngeal mask airway, one of each size: 1.5, 2, 2.5, 3, 4 and 5 |  |  |
| 5 | 1 forceps, Magill, adult, approx. 24 cm |  |  |
| 6 | 1 forceps, Magill, adult small/paediatric, approx. 19 cm |  |  |
| 7 | 1 forceps, Magill, extra small/child, approx. 16 cm |  |  |
| 8 | 1 forceps, Magill, neonates |  |  |
| 9 | 3 Transparent silicone (or similar material) anesthesia face masks, size: 1, 3 and 5 |  |  |
| 10 | 5 nasopharyngeal airway, sizes 20, 24, 26, 28, 32 Fr |  |  |
| 11 | 12 suction catheters, sizes: 8, 10, 12, 14, 16, 18. |  |  |
| 12 | 2 Sterile surgical aspiration cannulas |  |  |
| 13 | Endotracheal Tube Introducer (Bougie) with Coude Tip, Adult |  |  |
| 14 | Endotracheal Tube Introducer (Bougie), Pediatric |  |  |
| 15 | Intubation Stylet 14FR |  |  |
| 16 | Intubation Stylet 10FR |  |  |
| 17 | Endotracheal Tube Holder, Adult |  |  |
| 18 | Luer Lock Syringe - 10mL |  |  |
| 19 | Surgical tape |  |  |
| 20 | Mouth opener |  |  |
|  | 1. **Carry case suitable for all items, shock proof.** |  |  |
| **B** | **Certifications and post sales included in the offered price** |  |  |
| 1 | The Supplier, included in the offered price, will provide the post sales services described in the document “OT-PS Type II post sales requirements for Medical Devices”. |  |  |
| C | **Supplied with** |  |  |
| 1 | Use instructions |  |  |
| **D** | **ANY DEVIATIONS OR SUPERIOR CHARACTERISTICS MUST BE INDICATED BELOW // TOUTE DÉVIATION OU CARACTÉRISTIQUE SUPÉRIEURE DOIT ÊTRE INDIQUÉE CI-DESSOUS\* :** | | |
|  | | |