## Cover page
United Nations Office for Project Services
ETHIOPIA OPERATIONAL HUB (ETOH)
Tender Reference: ITB/2024/53510 EPSS WAREHOUSE FLOOR EPOXY WORK IN ADDIS ABABA ANDS NEGELE BORENA TOWN OF OROMIA REGION.
BILL OF QUANTITIES (BOQ)
Contents
- Cover Page
- Preamble
-Bill Nr.1 -Mobilization
- Bill Nr. 2 - Epoxy flooring Warehouse_Addis Ababa
- Bill Nr. 3 - Epoxy flooring Warehouse_Negele Borena
-Bill Nr. 4 -Day Works
NOTE: It is a MANDATORY requirement for bidders to complete and return both this excel BOQs and their respective duly signed pdf for further reference
Failure to complete all sections of the BOQ may result to automatic disqualification of your bid.
August, 2024

## PREAMBLE
PREAMBLE TO BILLS OF QUANTITIES
1 | Objectives
The objectives of the Bill of Quantities are
(a) to provide sufficient information on the quantities of Works to be performed to enable bids to be prepared efficiently and accurately; and
(b) when a Contract has been entered into, to provide a priced Bill of Quantities for use in the periodic valuation of Works executed.
In order to attain these objectives, Works have been itemized in the Bill of Quantities in sufficient detail to distinguish between the different classes of Works, or between Works of the same nature carried out in differently or in other circumstances which may give rise to different considerations of cost.
2 | The Bills of Quantities for the Works comprise the following:
Preamble to Bill of Quantities
List of principal Quantities
Grand Summary
Bill Nr. 1 Mobilization
Bill Nr. 2 Warehouse Addis Ababa
Bill Nr. 3 Warehouse Negele Borena
Bill Nr. 4 Daywork Rate
3 | The Contractor’s unit rates in these bills are to cover supplying of materials, taking delivery, transporting, loading and off loading inspection, storage, stacking, landing, preparation, installation including provision of all labour, requirement false work, temporary support, surface preparation and testing of the works. The rates shall include all applicable taxes and duty. The cost of testing of the materials to be used in the works unless otherwise provided is to be included in the rates of the respective Bill items.
4 | Measurement for payment shall be for the complete installation and having passed all necessary tests.
5 | Work shall not be executed on a Day work basis unless ordered in writing by the Consultant on approval by the Employer. The rates entered in the Day works Bill of Quantities shall apply to any quantity of Day work instructed by the Consultant. Nominal quantities have been indicated against each item to permit the extended total to be carried forward to the Grand Summary.
6 | “Rates and prices shall be inserted in the rate and total columns of the Bill of Quantities in US Dollars (USD)
7 | Bills of Quantities are to be read in conjunction with the Instructions to Bidders, the Conditions of Contract Data, the Specifications and the Drawings. The quantities stated against each item in the Bills of Quantities, with the exception of those items specifically marked ‘sum’, are the estimated quantities of the Work to be executed by the Contractor in fulfillment of his obligations under the Contract.
8 | The Contractor is required to check the number of the pages and should any be found to be missing or in duplicate he must inform the Engineer at once and have the same rectified.
9 | No liability whatever will be admitted or claim allowed in respect of errors in the Contractor’s tender due to mistakes in the Bills of Quantities which should have been rectified in the manner described above.
10 | The contractor shall not alter or otherwise qualify the text of these Bills of Quantities. Any alteration or qualification made without authority will be ignored and the text of the Bills of Quantities as printed will be adhered to.
11 | Each item in the Bills of Quantities is to be priced. If any items are left un-priced it will be assumed that the value of the work described there under is elsewhere allowed for. The prices and rates to be inserted in the Bills of Quantities are to be fully inclusive of all costs and expenses which may be required for the construction of the work described, together with general risks, liabilities and obligations set forth or implied in these documents.
12 | In no case will any claim for expenses incurred by the Contractor in preparation of this Tender be allowed.
13 | The Contractor is solely responsible for the accurate ordering of materials in accordance with the Specifications, Drawings and Engineer’s Instructions and no claim for any loss or expense will be entertained for orders for materials based on the Bills of Quantities.
14 | The quantities given in the Bills of Quantities are estimated and no claim by the Contractor for the final quantities being larger or smaller than the quantities given in the Bills of Quantities will be permitted except in accordance with Clause 38 of the Conditions of Contract.
15 | The dimensions given in the Drawings are generally in millimeters unless otherwise indicated. Levels are given in meters.
16 | The term ‘provide’ or ‘supply’ used for any item shall be deemed to include transport to site, handling, storage and fixing complete, and the Bidder’s rate shall include for this.
17 | The following abbreviations have been used in the Bills of Quantities:-
| kg | kilogram
| t | tonne
| m | metre
| m2 | square metre
| m3 | cubic metre
| mm | millimetre
| Nr. | Number
| USD | United States dollar
| uPVC | un-plasticized poly vinyl chloride
| HDPE | high density polyethylene
| GMS | galvanized mild steel
| LS | Lump Sum
| PS | Provisional Sum
General Items
18 | Unless otherwise provided there are no separate measurement items for Contractual requirements. The Contractor is deemed to have included his costs for the Contractual requirements.

## Grand Summary
ETHIOPIA MULTI-COUNTRY OFFICE (ETMCO)
BILLS OF QUANTITIES
EPSS WAREHOUSE EPOXY FLOOR COATING
Bidder Legal Name:
| GRAND SUMMARY |  | Amount in USD
1 | Bill Nr.1 - Mobilization | USD | 0
2 | Bill Nr.2 - Warehouse Addis Ababa | USD | 0
3 | Bill Nr.3 - Warehouse Negele Borena | USD | 0
| TOTAL | USD | 0
| 15% VAT | USD | 0
| GRAND TOTAL | USD | 0
| Bill Nr.4 - Day Works | USD | 0
Name of Signatory:
Designation:
Signature:
Date Signed:

## Bill Nr.1 Mobilization
ETHIOPIA MULTI-COUNTRY OFFICE (ETMCO)
BILLS OF QUANTITIES
EPSS WAREHOUSE EPOXY FLOOR COATING
Bidder Legal Name:
MOBILIZATION
SUMMARY
1 | SIGN BOARD | USD | 0 |  | 0
2 | SAFETY HARNESS & PROTECTION | USD | 0 |  | 0
3 | SAFETY & SECURITY OF WORKS | USD | 0 |  | 0
| TOTAL | USD | 0 |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Mobilization
1 | Sign Board
1.1 | Contractor to provide a Project Identification sign size (2m × 2m), Contractor to submit shop drawing for UNOPS Engineer Approval, also 2 safety signs (1.2m*1.2m) and (0.5m*0.5m) permanet sign board to be posted after the completion of the project. Saftey signed to be submitted to approval of Engineers, | LS | 1 |  | 0
2 | Safety Harness and Protection
2.1 | The contractor should include in their price the cost of providing all staff and workforce with suitable PPE (i.e., first aid kits, hard hats, safety boots, dust masks, safety vests, safety glasses, and air extractor fans for proper ventilation) and preventive measures against soil and water contamination. Preventive measures must be taken to prevent contaminants from spreading or entering drains, ditches, or rivers by using sand, earth, or other appropriate barriers. | LS | 1 |  | 0
3 | Safety & Security of Works
3.1. | Allow for providing safety and security for the Works and material as per the requirement laid under the Contract, including security lighting, lockable or open material storage areas, engaging security guards and/or any other measures as necessary. Cost shall include management Safety awareness during construction. | LS | 1 |  | 0
| Total Carried to summary USD |  |  |  | 0
Name of Signatory:
Designation:
Signature:
Date Signed:

## Bill Nr.2 Warehouse Addis Ababa
ETHIOPIA MULTI-COUNTRY OFFICE (ETMCO)
BILLS OF QUANTITIES
EPSS WAREHOUSE EPOXY FLOOR COATING
Bidder Legal Name:
WAREHOUSE - NEGELE BORENA
SUMMARY
1 | Surface preparation and epoxy flooring | USD | 0 |  | 0
2 | Miscellaneous | USD | 0 |  | 0
| TOTAL | USD | 0 |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Pricing notes:
A) Prices generally are to include for provision of all materials for carrying out the work except where item are specifically described as "measured separately".
B) Prices generally are to include for all necessary scaffolds, temporary screens, guard rails and other protective measures for proper execution of the work described and for the proper protection of the existing surrounding building, persons and others.
C) Prices generally are to include for making good of any damage or disturbance caused by the execution of the work described.
D) Prices generally are to include for the clearing away and removal from the site .
1 | Surface preparation
1.1 | Epoxy should only be applied to a clean, porous, and completely flat surface that is free of moisture, greasy residue, debris, holes, and cracks. Surface preparation should be performed to remove any loose particles, weak slurry layers, oil, and dirt, and to roughen and clean the surface. This preparation may include applying mortar and/or screed trowel finish (with 01 gravel) as recommended and approved by a UNOPS Engineer to ensure acceptable bonding with the existing concrete or screed. After completing this preparation, the surface must be polished and cleaned before epoxy application. The cleaned surface must meet all the minimum criteria indicated in the technical specifications. | m2 | 10031.01 |  | 0
Epoxy Flooring
1.2 | Apply heavy duty that allow movement of forklifts with 5 tone "everlast" or "Boysen Acqua Epoxy" or "equivalent", a two component water based acrylic Epoxy flooring according to strict application of manufacturers specifications. The flooring should comply with international standards for warehouse by creating durability,UV resistant, slip resistance, monolithic and seamless. easily cleanability, resistance to corrosive chemicals and acids, water proof, resistance to crack, wearing and cheeping, Wheel truck resistance, environmentally friendly, and so on. It should also be resistant against staining, Mold, Fungus, foul odour, bacteria, Yeast, Actinomycetes and mildew. The floor finish should terminate at the room perimeter continuing up the wall for about 100 mm to form a cove base, so there will be no crevices for unwelcome substances to hide. The floor should have an electrical resistance of 2.5x10 to 10 6 ohms, As per DIN 51953 ATM F-150 or NFPA 99, B1 class of fire resistance and should meet UL (underwriters laboratories) standard 779. Fulfills product requirements as per EN 649. Color should be approved by UNOPS Engineer upon the requirements of color usage in warehouse area.price shall include 3 mm thick self leveling and pigmented . All performance and physical properties must meet the minimum performance and physical properties indicated on the technical specification provided . | m2 | 10031.01 |  | 0
| Total Carried to summary USD |  |  |  | 0
2 | Miscellaneous
2.1 | Supply and apply warehouse safety line painting for traffic movement according to strict application of manufacturers specifications. The painting should comply with international standards for warehouse. (Approximate Floor Area A =10,000 m2). | LS | 1 |  | 0
| Total Carried to summary USD |  |  |  | 0
Name of Signatory:
Designation:
Signature:
Date Signed:

## Bill Nr.3 Warehouse Negele Bore
ETHIOPIA MULTI-COUNTRY OFFICE (ETMCO)
BILLS OF QUANTITIES
EPSS WAREHOUSE EPOXY FLOOR COATING
Bidder Legal Name:
WAREHOUSE - NEGELE BORENA
SUMMARY
1 | Surface preparation and epoxy flooring | USD | 0 |  | 0
2 | Miscellaneous | USD | 0 |  | 0
| TOTAL | USD | 0 |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Pricing notes:
A) Prices generally are to include for provision of all materials for carrying out the work except where item are specifically described as "measured separately".
B) Prices generally are to include for all necessary scaffolds, temporary screens, guard rails and other protective measures for proper execution of the work described and for the proper protection of the existing surrounding building, persons and others.
C) Prices generally are to include for making good of any damage or disturbance caused by the execution of the work described.
D) Prices generally are to include for the clearing away and removal from the site .
1 | Surface preparation
1.1 | Epoxy should only be applied to a clean, porous, and completely flat surface that is free of moisture, greasy residue, debris, holes, and cracks. Surface preparation should be performed to remove any loose particles, weak slurry layers, oil, and dirt, and to roughen and clean the surface. This preparation may include applying mortar and/or screed trowel finish (with 01 gravel) as recommended and approved by a UNOPS Engineer to ensure acceptable bonding with the existing concrete or screed. After completing this preparation, the surface must be polished and cleaned before epoxy application. The cleaned surface must meet all the minimum criteria indicated in the technical specifications. | m2 | 1447.875 |  | 0
Epoxy Flooring
1.2 | Apply heavy duty that allow movement of forklifts with 5 tone "everlast" or "Boysen Acqua Epoxy" or "equivalent", a two component water based acrylic Epoxy flooring according to strict application of manufacturers specifications. The flooring should comply with international standards for warehouse by creating durability,UV resistant, slip resistance, monolithic and seamless. easily cleanability, resistance to corrosive chemicals and acids, water proof, resistance to crack, wearing and cheeping, Wheel truck resistance, environmentally friendly, and so on. It should also be resistant against staining, Mold, Fungus, foul odour, bacteria, Yeast, Actinomycetes and mildew. The floor finish should terminate at the room perimeter continuing up the wall for about 100 mm to form a cove base, so there will be no crevices for unwelcome substances to hide. The floor should have an electrical resistance of 2.5x10 to 10 6 ohms, As per DIN 51953 ATM F-150 or NFPA 99, B1 class of fire resistance and should meet UL (underwriters laboratories) standard 779. Fulfills product requirements as per EN 649. Color should be approved by UNOPS Engineer upon the requirements of color usage in warehouse area.price shall include 3 mm thick self leveling and pigmented . All performance and physical properties must meet the minimum performance and physical properties indicated on the technical specification provided . | m2 | 1447.875 |  | 0
| Total Carried to summary USD |  |  |  | 0
2 | Miscellaneous
2.1 | Supply and apply warehouse safety line painting for traffic movement according to strict application of manufacturers specifications. The painting should comply with international standards for warehouse. (Approximate Floor Area A =1,450.00 m2). | LS | 1 |  | 0
| Total Carried to summary USD |  |  |  | 0
Name of Signatory:
Designation:
Signature:
Date Signed:

## Bill Nr.4 Daywork
ETHIOPIA OPERATIONAL HUB (ETOH)
BILLS OF QUANTITIES
EPSS WAREHOUSE EPOXY FLOOR COATING
Bidder Legal Name:
| DAY WORKS |  |  | RATE
SUMMARY
1 | LABOUR | USD | 0
2 | MATERIAL | USD | 0
3 | PLANT | USD | 0
| TOTAL | USD | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
(ALL PROVISIONAL)
In accordance with the Conditions of Contract, the Contractor will be paid day work rates for extra work that cannot properly be measured and valued, and the Contractor is to insert in the space provided below the basic rates and costs of labour,materials and plant as described hereunder:-
1 | LABOUR
1.1 | MASON | hours | 1 |  | 0
1.2 | CARPENTER | hours | 1 |  | 0
1.3 | SCAFFOLDER | hours | 1 |  | 0
1.4 | JOINER | hours | 1 |  | 0
1.5 | PLUMBER | hours | 1 |  | 0
1.6 | ELECTRICIAN | hours | 1 |  | 0
1.7 | PLASTERER | hours | 1 |  | 0
1.8 | PAINTER | hours | 1 |  | 0
1.9 | LABOURER | hours | 1 |  | 0
| TOTAL in USD |  |  |  | 0
1.1 | To the basic net rates of labor used for work carried out on day works, an addition 25% percent which is to include for task work and incentive schemes, tools, standing, scaffolding, supervision, insurance, transport profit and overheads.
|  |  | 25% |  | 0
| To collection of Labour Day works |  |  |  | 0
2 | MATERIALS
2.1 | Cement | Per Tonne | 1 |  | 0
2.2 | Sand | m3 | 14 |  | 0
2.3 | Aggregate (grade 25 - 5mm) | m3 | 14 |  | 0
2.4 | Steel reinforcement
| (i) Mild steel bar | Kg | 1 |  | 0
| (ii) High tensile bar | Kg | 1 |  | 0
2.5 | Timber formwork | Per SQ.M | 1 |  | 0
2.6 | Epoxy
2.7 | Paint, Gloss | Per 4 Litres | 1 |  | 0
2.8 | Paint, Emulsion | Per 4 Litres | 1 |  | 0
2.9 | Mahogany Varnish | Per 4 Litres | 1 |  | 0
2.1 | 100mm diameter uPVC rainwater downpipe 6M | Per Each | 1 |  | 0
2.1 | Ditto bends | Per Each | 1 |  | 0
2.11 | Ditto offsets | Per Each | 1 |  | 0
2.12 | Ditto watershoe | Per Each | 1 |  | 0
2.13 | Fixing brackets | Per Each | 1 |  | 0
2.14 | Fixing screws | Per Packet | 1 |  | 0
2.15 | 75mm thick x 375mm wide weather/throated cills | Per M | 1 |  | 0
2.16 | 4 mm Clear sheet glass | Per SQ.M. | 1 |  | 0
2.18 | Indicator Signage | Per Each | 1 |  | 0
| To Collection |  |  |  | 0
2.37 | To the basic nett rates of materials used for work carried out on dayworks, an addition of 25% which is to include for unloading and storing as necessary, the use of hand plant, and machinery etc. available on site, profit and overheads.
|  |  | 0.25 |  | 0
| To collection of Material Day works |  |  |  | 0
3 | PLANT
3.1 | Portable Compressor with 2 breakers or equivalent with 1500 mm hoses and reels | hours | 40 |  | 0
3.3 | Lorry seven tonne tipper | hours | 40 |  | 0
3.4 | Concrete Mixer (14/10) complete for weight batch mixing | hours | 40 |  | 0
3.5 | 50 mm self priming centrifugal pump with hose and ancillary equipment
|  | hours | 40 |  | 0
3.6 | Concrete Vibrators | hours | 40 |  | 0
| TOTAL in USD |  |  |  | 0
3.7 | To the basic rates of plant used for work carried out on dayworks, an addition of 25% per cent, which is to include for driver and/or attendance, fuel and consumable stores supervision, insurance, road licence,profit and overheads.
|  |  | 0.25 |  | 0
| To collection of Plant Day works |  |  |  | 0