## ANNEX C_FINANCIAL BID FORM
[ENTER YOUR COMPANY'S LETTERHEAD]
ANNEX E
FINANCIAL OFFER FORM
Dear Sir/Madam: We, the undersigned, offer to provide the goods and/or services for the Provision of Rehabilitation Services in Damascus and Rural Damascus – Syria, RFQ-HCR-SYR-2024-59, issued on 23 Oct 2024.
"We hereby submit our Financial Offer."
| Currency of Offer (plese indicate): | [e.g. SYP, EUR, USD]
| Validity of Offer: | 90 days
Location 1: Abo Dhar al-Ghafari Health Center in Damascus - (دمشق).
No. | Description |  | Unit | Quantity | Unit Price | Total Price | REMARKS
Civil, plumbing Works
1.1 | Insulating the battery room on the roof with sandwich panels |  | m2 | 30 |  | 0
1.2 | Performing maintenance to taps-mixer and regular taps |  | pc | 20 |  | 0
1.3 | Providing and installing a water pump on the roof |  | pc | 1 |  | 0
1.4 | Removing and removal of debries of the damaged floor tiles in the garden (the sloped floor) next to the power generator |  | M2 | 7 |  | 0
1.5 | Providing and casting 300 kg/m3 concrete |  | M3 | 1 |  | 0
1.6 | Providing and implementing trottoir floor tiles |  | m2 | 7 |  | 0
1.7 | Provision and installation of Dixon shelves |  | # | 2 |  | 0
Electrical Works
2.1 | Replacing fluorescent lighting devices with modern energy-saving devices |  | No. | 120 |  | 0
2.2 | General electrical maintenance works |  | lump sum | 1 |  | 0
Total of Location 1 in Currency of Offer | [5 empty] | 0
Location 2: Jaramana Health Center in Rural Damascus – Jaramana (جرمانا).
No. | Description |  | Unit | Quantity | Unit Price | Total Price | REMARKS
Civil, plumbing Works
1.1 | Dismantling, Demolition, Removal, and Disposal Works
1.1.1 | Dismantling, Demolition, Removal, and Disposal of flooring and wall ceramic tiles. |  | M2 | 100 |  | 0
1.1.2 | Removal of Aluminum of windows or doors. |  | No. | 1 |  | 0
1.2 | Tiling and Cladding Works
1.2.1 | Provision and installation of locally made first-class ceramics (walls) |  | M2 | 125 |  | 0
1.2.2 | Provision and installation of first-class steeled floor ceramics |  | M2 | 11 |  | 0
1.2.3 | Provision and installation of marble sills |  | L.M | 1 |  | 0
1.2.4 | Provision and installation of marble counter |  | L.M | 25 |  | 0
1.2.5 | Provision and installation of granite flooring with skirting |  | M2 | 38 |  | 0
1.3 | Paint Works
1.3.1 | Acrylic paint with putty. |  | M2 | 1700 |  | 0
1.3.2 | Oil paint for metal works |  | No. | 3 |  | 0
1.4 | Aluminum works
1.4.1 | Provision and installation of wide cross-section aluminum fixed facades with door |  | M2 | 25 |  | 0
1.5 | Wood Works
1.5.1 | Provision and installation of wooden doors |  | M2 | 2 |  | 0
1.5.2 | Provision and installation of wall cabinets |  | L.M | 25 |  | 0
1.5.3 | Provision and installation of lower cabinets fronts with drawers |  | L.M | 25 |  | 0
1.6 | False Ceiling Works
1.6.1 | Provision and installation of dropped ceiling, gypsum board tiles 60*60 cm |  | M2 | 120 |  | 0
1.7 | Signboard Works
1.7.1 | Provision and installation of room signboard |  | No. | 20 |  | 0
1.7.2 | Provision and installation of floor signboard |  | No. | 1 |  | 0
1.8 | Waiting Chairs Works
1.8.1 | Provision and installation of waiting chairs |  | No. | 3 |  | 0
1.9 | Chimney Caps Works
1.9.1 | Provision and installation of chimney caps |  | No. | 20 |  | 0
1.1 | Fabric Curtains Works
1.10.1 | Provision and installation of Fabric curtains |  | M2 | 75 |  | 0
1.11 | Maintenance Works
1.11.1 | Maintenance of aluminum carpentry |  | No. | 1 |  | 0
1.11.2 | Maintenance of metal carpentry |  | No. | 3 |  | 0
1.11.3 | Maintenance of wood carpentry |  | No. | 20 |  | 0
1.11.4 | Maintenance of wall and base cabinets |  | No. | 8 |  | 0
Plumbing And Sanitation Works
2.1 | Dismantling and removing the plumbing fixtures and the old fresh and wastewater lines in the internal restrooms |  | Lump sum | 1 |  | 0
2.2 | Providing and installing PVC piping
2.2.1 | ⦰ 2" Pipes |  | LM | 60 |  | 0
2.2.2 | ⦰ 3" Pipes |  | LM | 60 |  | 0
2.2.3 | ⦰ 4" Pipes |  | LM | 10 |  | 0
2.2.4 | ⦰ 6" Pipes |  | LM | 20 |  | 0
2.3 | Providing and installing PPR piping
2.3.1 | ⦰ 32 mm PPR pipes |  | LM | 10 |  | 0
2.3.2 | ⦰ 25 mm PPR pipes |  | LM | 75 |  | 0
2.4 | Providing and installing a ⦰ 20 cm plastic manhole |  | # | 5 |  | 0
2.5 | Providing and installing a drain |  | # | 35 |  | 0
2.6 | Providing and installing a flush toilet |  | # | 1 |  | 0
2.7 | Providing and installing a squat toilet with accessories |  | # | 1 |  | 0
2.8 | Providing and installing a 60 x 50 cm porcelain sink with accessories |  | # | 2 |  | 0
2.9 | Providing and installing Kitchen stainless steel sink |  | # | 18 |  | 0
2.1 | Providing and installing a wall-mounted water heater |  | # | 3 |  | 0
2.11 | Providing and installing a plastic barrel with a ⦰ 40 cm opening and a lid of cast iron |  | # | 4 |  | 0
2.12 | Performing maintenance to mixing-valve taps and regular taps |  | # | 5 |  | 0
2.13 | Providing and installing a toilet hose |  | # | 2 |  | 0
2.4 | Providing and installing a concealed chrome valve with a handle
2.4.1 | ⦰ 32 mm valve |  | # | 5 |  | 0
2.4.2 | ⦰ 25 mm valve |  | # | 5 |  | 0
2.4.3 | Providing and installing Dixon shelves |  | # | 10 |  | 0
Electrical Works
3.1 | Replacing fluorescent light bulbs with modern power-saving bulbs |  | No. | 12 |  | 0
3.2 | General electrical maintenance works |  | lump sum | 1 |  | 0
Mechanical Works
4.1 | Dismantling the axial fans and delivering them to the warehouse of Rural Damascus Directorate of Health in Quteifa Hospital |  | No. | 4 |  | 0
4.2 | Providing and installing axial fan (aspirator) (25 x 25) cm |  | No. | 5 |  | 0
4.3 | Providing and installing axial fan (industrial) with metal blades, flow rate: 850 m3/h |  | No. | 2 |  | 0
4.4 | Dismantling, maintaining, and re-installing the ceiling fans |  | No. | 1 |  | 0
4.5 | Providing and installing wall-mounted fan |  | No. | 8 |  | 0
Total of Location 2 in Currency of Offer | [5 empty] | 0
Location 3: - Jdaidet Artouz Health Center in Rural Damascus - Jdaidet Artouz (جديدة عرطوز).
Plumbing And Sanitation Works
1.1 | Providing and installing ⦰ 32 mm PPR piping |  | m | 60 |  | 0
1.2 | Providing and installing a water pump |  | # | 1 |  | 0
1.3 | Providing and installing Dexion shelving |  | # | 5 |  | 0
Electrical Works
2.1 | Replacing fluorescent light fixtures with modern power-saving bulbs |  | No. | 120 |  | 0
2.2 | General electrical maintenance works |  | No. | 1 |  | 0
2.3 | Providing and installing lithium batteries 48 V/200 AH with accessories |  | No. | 2 |  | 0
Total of Location 3 in Currency of Offer | [5 empty] | 0
Location 4: Maarabani Health Center in Barzeh - Damascus - (برزة).
Architectural Works
1.1 | Paint Works
1.1.1 | Acrylic paint with putty retouch |  | M2 | 1025 |  | 0
1.1.2 | Oil paint for metal works |  | No. | 2 |  | 0
1.2 | Tiling and Cladding Works
1.2.1 | Provision and implementation of black basalt/bush-hammered stone for stairs, landings, and ramps |  | M2 | 15 |  | 0
1.3 | Metal Carpentry Works
1.3.1 | Provision and installation of handrails for entrances and exterior ramps |  | L.M | 7 |  | 0
1.4 | Maintenance Works
1.4.1 | Wooden Carpentry Maintenance |  | No. | 20 |  | 0
Plumbing And Sanitation Works
2.1 | Unclogging all drains and pipes and cleaning internal manholes |  | # | 30 |  | 0
2.2 | Performing maintenance to mixing-valve taps and regular taps |  | # | 30 |  | 0
2.3 | Provision and installation a water pump |  | # | 1 |  | 0
2.4 | Cleaning the roof thoroughly, and applying grout to treat the leakages |  | M2 | 225 |  | 0
2.5 | Breaking and removing the asphalt and concrete at the entrances, and taking them away |  | M3 | 1 |  | 0
2.6 | Providing and implementing 300 kg/m3 concrete |  | M3 | 1 |  | 0
2.7 | Provision and installation of Dixon shelves |  | # | 5 |  | 0
Electrical Works
3.1 | Removing the old electric network |  | LS | 1 |  | 0
3.2 | Provision and installation a solar power panels with accessories |  | No. | 10 |  | 0
3.3 | Provision and installation a solar inverter with accessories |  | No. | 2 |  | 0
3.4 | Provision and installation lithium batteries 30 KV with accessories |  | No. | 2 |  | 0
3.5 | Providing and installation of metal bases with all necessary works. |  | Kg | 350 |  | 0
3.6 | Provision and installation DC electrical cables 2*4 mm2 with accessories. |  | LM | 20 |  | 0
3.7 | Provision and installation DC electrical cables 2*10 mm2 with accessories. |  | LM | 50 |  | 0
3.8 | Provision and installation primary DC boards with accessories |  | No. | 1 |  | 0
3.9 | Provision and installation a secondary DC board with accessories |  | No. | 1 |  | 0
3.1 | Provision and installation AC (alternating current) panels for the solar converter input and output with accessories |  | No. | 1 |  | 0
3.11 | Provision and installation AC cables 4*70 mm² cross-section with accessories |  | LM | 30 |  | 0
3.12 | Provision and installation AC cables 4*50 mm² cross-section with accessories |  | LM | 5 |  | 0
3.13 | Provision and installation AC cables 4*25 mm² cross-section with accessories |  | No. | 150 |  | 0
3.14 | Provision and installation an electrical grounding system with accessories |  | No. | 1 |  | 0
3.15 | Provision and Installation of Lightning Protection System with All Necessary Accessories |  | No. | 1 |  | 0
Mechanical Works
4.1 | Provision and installing axial fan (aspirator) (20 x 20) cm |  | No. | 1 |  | 0
4.2 | Provision and installing ceiling fans |  | No. | 11 |  | 0
4.3 | Provision and installing wall-mounted fan |  | No. | 1 |  | 0
4.4 | Provision and installing an air conditioner in the room of the Health District Chairperson, capacity: 1.5 ton cooling |  | No. | 1 |  | 0
Total of Location 4 in Currency of Offer | [5 empty] | 0
Location 5: Saeeda Zeinab Health Center in Rural Damascus – Saeeda Zeinab (السيدة زينب).
Architectural Works
1.1 | Dismantling, Demolition, Removal, and Disposal Works
1.1.1 | Dismantling, Removal, and Disposal Works of counters |  | LM | 7 |  | 0
1.1.2 | Dismantling, Removal, and Disposal Works of flooring and wall tiles |  | M2 | 335 |  | 0
1.1.3 | Dismantling, Removal, and Disposal Works of wooden doors/windows |  | No. | 50 |  | 0
1.1.4 | Dismantling, Removal, and Disposal Works of Aluminum doors/windows |  | No. | 7 |  | 0
1.1.5 | Demolishing, and Disposal Works of walls |  | M2 | 65 |  | 0
1.1.6 | Demolishing, and Disposal Works of the stairs |  | No. | 2 |  | 0
1.2 | Bricks Works
1.2.1 | Provision and construction of bricks of 15 cm thickness |  | M2 | 80 |  | 0
1.2.2 | Provision and installation of horizontal lintels of 350 kg/m3 |  | No. | 6 |  | 0
1.3 | Plaster Works
1.3.1 | Provision and implementation of three layers of interior plaster on plaster dots |  | M2 | 80 |  | 0
1.4 | Tiling and Cladding Works
1.4.1 | Provision and installation of marble countertop with sink opening |  | L.M | 25 |  | 0
1.4.2 | Provision and installation of locally made first-class ceramics (walls) |  | M2 | 175 |  | 0
1.4.3 | Provision and installation of first-class steeled floor ceramics |  | M2 | 32 |  | 0
1.4.4 | Provision and installation of marble sills for windows and doors |  | L.M | 22 |  | 0
1.4.5 | Provision and installation of black basalt /bush-hammered stone for stairs, landings, and ramps for full access |  | M2 | 70 |  | 0
1.4.6 | Provision and installation of floor granite with skirting tiles |  | M2 | 350 |  | 0
1.4.7 | Provision and installation of while mosaic tiles with polishing |  | M2 | 22 |  | 0
1.4.8 | Provision and installation of marble countertop |  | L.M | 5 |  | 0
1.5 | Paint Works
1.5.1 | Acrylic paint with putty |  | M2 | 800 |  | 0
1.5.2 | Oil paint for metal works |  | No. | 2 |  | 0
1.6 | Aluminum Works
1.6.1 | Provision and installation of wide cross-section aluminum fixed window |  | M2 | 5.3 |  | 0
1.6.2 | Provision and installation of wide cross aluminum carpentry for doors |  | M2 | 5 |  | 0
1.6.3 | Provision and installation of wide cross aluminum carpentry for operable windows |  | M2 | 2 |  | 0
1.6.4 | Provision and installation of aluminum carpentry for shutters |  | No. | 22 |  | 0
1.7 | Wood Works
1.7.1 | Provision and installation of wood carpentry for doors |  | No. | 15 |  | 0
1.7.2 | Provision and installation of wood carpentry for sliding doors |  | No. | 1 |  | 0
1.7.3 | Provision and installation of wall cabinets |  | L.M | 25 |  | 0
1.7.4 | Provision and installation of base cabinets |  | L.M | 27 |  | 0
1.7.5 | Provision and installation of pharmacy cabinets |  | No. | 2 |  | 0
1.7.6 | Provision and installation of wainscoting |  | L.M | 9 |  | 0
1.7.7 | Provision and installation of shutter boxes |  | L.M | 24 |  | 0
1.7.8 | Provision and installation of fixed wall cabinets |  | No. | 7 |  | 0
1.8 | Metal Carpentry Works
1.8.1 | Provision and installation of handrails for entrances and exterior ramps |  | L.M | 30 |  | 0
1.8.2 | Provision and installation of metal window guard rail |  | Kg | 100 |  | 0
1.9 | False Ceiling Works
1.9.1 | Provision and installation of dropped ceiling, gypsum board tiles 60*60 cm |  | M2 | 70 |  | 0
1.1 | Provision and installation of room signboard |  | No. | 16 |  | 0
2.1 | Provision and installation of floor signboard |  | No. | 1 |  | 0
1.11 | Provision and installation of waiting chairs |  | No. | 3 |  | 0
1.12 | Provision and installation of chimney caps |  | No. | 16 |  | 0
1.13 | Provision and installation of fabric curtains |  | M2 | 71 |  | 0
1.1 | Maintenance Works
1.10.1 | Maintenance of metal carpentry |  | No. | 2 |  | 0
1.10.2 | Maintenance of aluminum carpentry |  | No. | 27 |  | 0
Plumbing, Sanitation, and Civil Works
2.1 | Dismantling and removing the plumbing fixtures and old water and sewage networks |  | Lump sum | 1 |  | 0
2.2 | Providing and installing PVC piping
2.2.1 | ⦰ 2" Pipes |  | LM | 25 |  | 0
2.2.2 | ⦰ 3" Pipes |  | LM | 40 |  | 0
2.2.3 | ⦰ 4" Pipes |  | LM | 40 |  | 0
2.2.4 | ⦰ 6" Pipes |  | LM | 30 |  | 0
2.3 | Providing and installing PPR piping
2.3.1 | ⦰ 32 mm PPR pipes |  | LM | 110 |  | 0
2.3.2 | ⦰ 25 mm PPR pipes |  | LM | 100 |  | 0
2.4 | Providing and installing a ⦰ 20 cm plastic manhole |  | # | 14 |  | 0
2.5 | Providing and installing drains |  | # | 28 |  | 0
2.6 | Providing and installing flush toilets |  | # | 1 |  | 0
2.7 | Providing and installing squat toilets with accessories |  | # | 2 |  | 0
2.8 | Providing and installing 60 cm x 50 cm porcelain sinks with accessories |  | # | 5 |  | 0
2.9 | Providing and installing stainless-steel kitchen sinks |  | # | 11 |  | 0
2.1 | Providing and installing wall-mounted water heaters |  | # | 7 |  | 0
2.11 | Providing and installing a 2 m3 plastic water tank |  | # | 2 |  | 0
2.12 | Providing and installing a water pump |  | # | 1 |  | 0
2.13 | Providing and installing a concealed chrome valve under a lid
2.13.1 | ⦰ 32 mm valve |  | # | 10 |  | 0
2.13.2 | ⦰ 25 mm valve |  | # | 15 |  | 0
2.14 | Providing and installing a ball valve
2.14.1 | ⦰ 32 mm valve |  | # | 10 |  | 0
2.14.2 | ⦰ 25 mm valve |  | # | 6 |  | 0
2.15 | Provision and casting 300 kg/m3 reinforced concrete |  | M3 | 32 |  | 0
2.16 | Providing and installing a plastic barrel with a ⦰ 40 cm opening and a lid of cast iron |  | # | 6 |  | 0
2.17 | Provision and installation of Dixon Shelves |  | # | 10 |  | 0
2.18 | Excavation and debris removal works |  | M3 | 3 |  | 0
2.19 | Provision and casting of 150 kg/m3 Plain Concrete |  | M3 | 3 |  | 0
2.2 | Provision and casting of 350 kg/m3 reinforced Concrete |  | M3 | 5 |  | 0
2.21 | Provision and installation of precast concrete room |  | # | 1 |  | 0
Electrical Works
3.1 | Removing the old electric network |  | LS | 1 |  | 0
3.2 | Providing and installing an electric panel with accessories |  | No. | 1 |  | 0
3.3 | Providing and installing a lighting point with accessories |  | No. | 60 |  | 0
3.4 | Providing and installing a socket (Schuko to US plug) with accessories |  | No. | 50 |  | 0
3.5 | Providing and installing lighting fixtures 60x60cm with accessories |  | pc. | 42 |  | 0
3.6 | Providing and installing a 60cm LED lighting fixture, IP (Ingress Protection), with accessories |  | pc. | 8 |  | 0
3.7 | Providing and installing solar power panels with accessories |  | pc. | 32 |  | 0
3.8 | Providing and installing a solar inverter with accessories |  | pc. | 2 |  | 0
3.9 | Providing and installing lithium batteries 48v 300ah with accessories |  | pc. | 2 |  | 0
3.1 | Providing and installing iron mounting rails with accessories |  | kg. | 960 |  | 0
3.11 | Providing and installing DC cables 2*4 mm² cross-section with accessories |  | M | 130 |  | 0
3.12 | Providing and installing DC cables 2*6 mm² cross-section with accessories |  | M | 100 |  | 0
3.13 | Providing and installing primary DC boards with accessories |  | No. | 1 |  | 0
3.14 | Providing and installing a secondary DC board with accessories |  | No. | 1 |  | 0
3.15 | Providing and installing AC (alternating current) panels for the solar converter input and output with accessories |  | No. | 1 |  | 0
3.16 | Providing and installing AC cables 3*16 mm² with accessories |  | M | 50 |  | 0
3.17 | Providing and installing AC cables 3*10 mm² with accessories |  | M | 60 |  | 0
3.18 | Providing and installing AC cables 3*4 mm² with accessories |  | M | 200 |  | 0
3.19 | Providing and installing a socket (US) with accessories |  | pc. | 24 |  | 0
3.2 | Providing and installing a hidden phone jack and a distribution box with accessories |  | pc. | 12 |  | 0
3.21 | Providing and installing an ICT socket and an ICT cable with accessories |  | pc. | 12 |  | 0
3.22 | Providing and installing an electrical grounding system with accessories |  | No. | 2 |  | 0
3.23 | Providing and installing a lightning rod network with accessories |  | No. | 1 |  | 0
Mechanical Works
4.1 | Providing and installing axial fan (aspirator) (15 x 15) cm |  | No. | 2 |  | 0
4.2 | Dismantling the ceiling fans and the axial fan and delivering them to the warehouse of Rural Damascus Directorate of Health in Quteifa Hospital |  | No. | 10 |  | 0
4.3 | Provision and installation wall-mounted fan in patients waiting area |  | No. | 4 |  | 0
4.4 | Provision and installation ceiling fans |  | No. | 4 |  | 0
Total of Location 5 in Currency of Offer | [5 empty] | 0
Total of all Locations in Currency of Offer | [5 empty] | 0
NOTES TO BIDDERS:
_ All Prices/Rates shall be on an ALL-INCLUSIVE basis. _The standard payment terms of UNHCR are net 30 days upon satisfactory delivery of goods and/or services, receipt of the invoice (and supporting documents) and acceptance thereof by UNHCR. For Evaluation Purposes Only: _If offers are received in various currencies, the offers submitted in currency other than US Dollars will be converted into US Dollars using the United Nations Operational Rate of Exchange (https://treasury.un.org/operationalrates/OperationalRates.php) in effect on the date the submissions are due.
BIDDER'S COMMENTS
By signing on this document, , which I am duly authorized to sign for, I confirm that I have read and understood all related documents as provided by UNHCR. This is also to confirm that our company shall abide by our offer until its validity expires.
(person authorised to sign on behalf of the Bidder)
Signature over Printed Name
Position Title
Date and Place Signed
STAMP OF THE COMPANY
Note on D10: Nino Jeffrey Trinidad: MANDATORY