## ANNEX C_FINANCIAL BID FORM
[ENTER YOUR COMPANY'S LETTERHEAD]
ANNEX E
FINANCIAL OFFER FORM - Lot2
Dear Sir/Madam: We, the undersigned, offer to provide the goods and/or services for the Provision of Rehabilitation Services in Sweida Governorate – Syria, RFQ-HCR-SYR-2024-56, issued on 24 Oct 2024.
"We hereby submit our Financial Offer."
| Currency of Offer (plese indicate): | [e.g. SYP, EUR, USD]
| Validity of Offer: | 90 days
Lot2: Provision of Rehabilitation Services for Civil Registry Center in Salkhad - Sweida– Syria
No. | Description |  | Unit | Quantity | Unit Price | Total Price | REMARKS
Site cleaning
1 | Demolition of block walls thickness of 15 cm and debris removal |  | M2 | 13 |  | 0
Concrete work
2 | Supply and implementation of reinforced concrete, 350 kg /m3 cement rate, 60 kg/m3 steel rate, for wall upper and lower beams and where needed, according to supervisor engineer instructions. |  | M3 | 1 |  | 0
Walls
3 | Supply and implementation of hollow concrete blocks, 12 cm thickness |  | M2 | 36.8 |  | 0
4 | Restoration of the entire northern outer wall with supply and implementation of external cement plaster 2 layers with terolly layer, the work includes damaged plaster removal with all needed. |  | M2 | 25 |  | 0
5 | Supply and implement cement plaster, 3 layers, for walls and ceilings performed by using aluminium tube bar |  | M2 | 50 |  | 0
6 | Supply and implement cement plaster, 1 layer, for walls, finishing smooth layer,walls of the hall (west and south) with all needed |  | M2 | 40 |  | 0
Internal works
7 | Supply and Install metal walls consisting of Sandwich panels with the required metal sections for installation,/ the Sandwich panels: 5 cm thickness, consists of two galvanized steel sheet layers filled with foam, 0.45mm thickness for each layer/, with all accessories needed , the contractor have to submit a shop drawing, the work includes all needed to complete the work in the best way. |  | Lm | 12.5 |  | 0
8 | Supply and Install a ceiling for bathrooms tiles 60 * 60 cm with a height of 2.5 m from the floor and a ceiling for the room 60 * 60 cm tiles with a height of 3 m from the floor of the room with all the necessary installation materials and accessories and as directed by the supervisory body. |  | M2 | 24 |  | 0
Doors
9 | Supply and Install Aluminium doors (Section 4.5 cm) for WASH facilities |  | M2 | 3 |  | 0
10 | Supply and Install metal door for rooms (Administration & warehouse), similar to that in the center and where required. |  | Kg | 130 |  | 0
Windows
11 | Supply and Install Aluminium windows (Section 7 cm) or similar to existing. |  | M2 | 9 |  | 0
12 | Supply and Install Aluminium windows (Section 4.5 cm) for WASH facilities, and where are needed |  | M2 | 0.32 |  | 0
13 | Supply and install a protection metal for room windows similar to that in the center and where needed |  | Kg | 50 |  | 0
Waterproofand Painting works
14 | Supply and Install acrylic -water based paint for ceilings and walls |  | M2 | 300 |  | 0
15 | Supply and Install the work of insulating the roof of the tile and is done by treating the horizontal brick umbrella roof with an appropriate mixture of spr material with cement and marine sand, in addition to treating the separation between the brick and the old construction by restoring the edges of the separator and injecting it with paste expansion joints or covering it with bitumen chips after its foundation with bitumen and pasting the chips by fire, then the brick roof is painted with two layers of brick insulation material with a brick color with everything necessary. |  | M2 | 48 |  | 0
Marbles and Tiling
16 | Supply and laying of suitable materials for backfilling 25cm thickness for flooring in corridor and where needed |  | M2 | 11 |  | 0
17 | Supply and Install mosaic floor tiles (small-sized stones in the single tile) |  | M2 | 27 |  | 0
18 | Supply and Install ceramic tiles for floors |  | M2 | 4 |  | 0
19 | Supply and Install ceramic tiles for walls |  | M2 | 16 |  | 0
20 | Supply and Install a polished local marble frames for windows, doors and door sills, 3 cm thickness, with one edge rounded |  | M2 | 1.5 |  | 0
21 | Supply and Install a polished local marble counters for kitchen sink, thickness of 3 cm, with one edge rounded |  | M2 | 0.9 |  | 0
22 | Supply and Install a polished local marble for the vertical pieces of the counters of the kitchen sink, thickness of 3 cm, with straight edges |  | M2 | 1 |  | 0
23 | Supply and fixation of black basalt stone steps for center entrance , 33cm width,15-20cm height, 3cm thick/ good quality/ with fixing by cement mortar, the work includes disposal of rubbish. |  | M2 | 2 |  | 0
24 | Providing and implementing polishing floors for basalt stone, and the work includes cleaning, clearing and polishing with everything necessary to complete the work and according to the directives of the supervising engineer |  | M2 | 48 |  | 0
Water and Sanitary Works
25 | uply and implement reinforced concrete for basic manholes caliber 350 kg / m 3 (reinforcement is not less than 60 kg / m 3) of sulfate-resistant cement for walls and floors, thickness / 20 - 25 cm / Supply and installation of cast iron manhole cover, with all accessories needed and disposal of rubbish. |  | M3 | 0.7 |  | 0
26 | Providing and installing of manhole PVC inspection, local industry 30*30 cm, with all the necessary accessories and everything necessary |  | No | 2 |  | 0
27 | Supply and install PVC pipes 2", local made, heavy duty, local brand with all needed accessories |  | Lm | 6 |  | 0
28 | Supply and install PVC pipes 4", local made, heavy duty, local brand with all needed accessories |  | Lm | 10 |  | 0
29 | Supply and installation of steel rain water drain grill /180*30 cm/, 50cm depth, including connection to the centerl sanitation system, the work includes all materials needed to finish the works in the best way. |  | No | 1 |  | 0
30 | Supply and Install PPR pipes, 25 mm with all accessories, local made, high quality |  | Lm | 8 |  | 0
31 | Supply and Install PPR pipes, 32 mm with all acccessories, local made, high quality |  | Lm | 12 |  | 0
32 | Supply and install a stainless steel lid for the sewers size 30*30 cm |  | No. | 2 |  | 0
33 | Supply and install a stainless steel lid for the sewers size 15*15 cm |  | No. | 4 |  | 0
34 | Supply and Install a Stainless Steel kitchen sink (60*35) cm |  | No. | 1 |  | 0
35 | Supply and Install a porcelain water closet toilet seat including all needed accessories and fittings |  | No. | 2 |  | 0
36 | Supply and Install a toilet chrome water tap 1/2" with hose, accessories, and needed fittings |  | No. | 2 |  | 0
37 | Supply and Install a chrome water tap 1/2" with all accessories and needed fittings |  | No. | 1 |  | 0
Electrical Works
38 | Supply and install electric outlet or switch with socket ,cover and apparent or hidden box ,/VIMAR/ type or equivalent, with all connections, the work includes replacement the old chassis box by new model and removal of damaged parts, with all needed. |  | No. | 10 |  | 0
39 | Supply and installation of full light point ,a circular spot LED similar to the one in the center,not less than 30 watts , including wires/high quality,2*1.5mm2 ,about 10m length for each point,local made,switch ,truncking, spot LED , and replacement the old chassis box by new model, with all needed. |  | No. | 10 |  | 0
40 | Supply and installation of full light point led lamp 30 watt with all needed, including wires/high quality,2*1.5mm2 ,about 10m length for each point,local made/,sockets ,switch ,truncking, led lamp 30 watt, and replacement the old chassis box by new model, with all needed. |  | No. | 4 |  | 0
41 | Supply and installation of elec. cable, /HOCH BLASS or equivalent ,high-quality,local made/, (2*6mm2) with connecting and all needed. |  | Lm | 30 |  | 0
42 | Supply and apply circuit breaker /32 Amp, double/. |  | No. | 1 |  | 0
43 | Supply and Install 8 circuit breakers main distribution board with all needed |  | No. | 1 |  | 0
44 | Supply and install of external extensions for solar energy with all the necessary electrical wires, plastic sewers and accessories. |  | Lm | 25 |  | 0
45 | Supply and install of protective grille for batteries with metal corners and paint with everything necessary. |  | Kg | 25 |  | 0
Special equipping for Center
46 | Providing and supplying a metalfurnished waiting chair, taking into account that it is in the form of triple groups connected to each other by a metal base (chrome-plated) and equipped from both ends with a fixed metal armrest (chrome-plated) and that the legs are fixed metal (chrome-plated) |  | No | 2 |  | 0
47 | Providing and supplying a water cooler (Kohler) used to secure cold and hot water for daily use and consists of two sections: The upper section consists of a water tank made of treated plastic, the tank capacity is about 15 liters, equipped with a filter to purify impurities and dirt.Bottom section: The front end of the cooler is equipped with a digital screen that shows temperatures (cold and hot) in addition to a stainless steel and oxidation resistant rear tank equipped with a thermostat for the caliber of cold water temperature and rear operating grills for cold and hot And equipped from the bottom with wheels and kickers to protect the refrigerated body |  | No | 1 |  | 0
Total in Currency of Offer | [5 empty] | 0
NOTES TO BIDDERS:
_ All Prices/Rates shall be on an ALL-INCLUSIVE basis. _The standard payment terms of UNHCR are net 30 days upon satisfactory delivery of goods and/or services, receipt of the invoice (and supporting documents) and acceptance thereof by UNHCR. For Evaluation Purposes Only: _If offers are received in various currencies, the offers submitted in currency other than US Dollars will be converted into US Dollars using the United Nations Operational Rate of Exchange (https://treasury.un.org/operationalrates/OperationalRates.php) in effect on the date the submissions are due.
BIDDER'S COMMENTS
By signing on this document, , which I am duly authorized to sign for, I confirm that I have read and understood all related documents as provided by UNHCR. This is also to confirm that our company shall abide by our offer until its validity expires.
(person authorised to sign on behalf of the Bidder)
Signature over Printed Name
Position Title
Date and Place Signed
STAMP OF THE COMPANY
Note on D10: Nino Jeffrey Trinidad: MANDATORY