## FO
ANNEX C - FINANCIAL OFFER FORM
RFQ-HCR-SYR-2024-57
SUPPLY, DELIVERY, AND INSTALLATION OF SOLAR POWERED SYSTEM KITS IN DARA GOVERNORATE - SYRIA.
Name of Bidder (Company):
Currency of Offer (please indicate):
| Validity of Offer: | 90 days
Location 1: Supply and Installation of Solar System in Civil Registry Center in Dara City - Dara Governorate
Ground floor
# | Description |  | QTY | UoM | Unit price DDP | Total Price DDP
1 | Supply and installation of solar system | Solar panels of not less than 550 watts | 10 | Each |  | 0
|  | Solar inverter of not less than 5500 watts | 1 | Each |  | 0
|  | Gel battery 12 volts, of not less than 200 amps | 4 | Each |  | 0
2 | Supply and installation steel structure for the solar panels with not less than 3 [mm] thickness |  | 500 | Kg |  | 0
3 | Supply and installation of single-stranded copper-capillary DC cables for connection between solar panels and collector panel 2 x10 mm2 with All necessary works. |  | 35 | Lm |  | 0
4 | Supply and installation of elec. cable, high-quality,local made/, 2.5 mm2, with connecting and all needed. |  | 30 | Lm |  | 0
5 | Supply and installation of elec. cable ,high-quality,local made/, 1.5 mm2, with connecting and all needed. |  | 20 | Lm |  | 0
6 | Supply and install of 1.5*1.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 30 | Lm |  | 0
7 | Supply and install of 3*2.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 20 | Lm |  | 0
8 | Supply and install of 4*4cm plastic trunking for elec. wires in offices and hall with all needed. |  | 20 | Lm |  | 0
9 | Supply and apply electrical distribution board with plastic box /8 lines/ - good quality, with all needed. |  | 1 | No |  | 0
10 | Supply & install of elec. breaker 10-20 Amp /high European grade/ for electric board with all needed. |  | 4 | No |  | 0
11 | Supply & install of elec. breaker 40 Amp /high European grade/ Automatic duplex between the solar energy system and the main gridwith all needed |  | 1 | No |  | 0
12 | Supply & install of elec. breaker 16 Amp, /DC /high European grade/, between the solar panels and the inverter with all needed |  | 2 | No |  | 0
13 | Supply & installation of elec. signal lamp ,high quality, EU made with all needed. |  | 3 | No |  | 0
14 | Supply and installation of elec. cable,high-quality,local made/, (2*6mm2) with connecting and all needed. |  | 15 | Lm |  | 0
15 | Supply and installation of battery cable (AALY ), high-quality,local made/, (2*25mm2) with connecting and all accessories needed. |  | 15 | Lm |  | 0
16 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis (double), sockets, switch, truncking, lighting neon bulb 2nos (led, 120 cm length, 25 Watt), with all needed. |  | 4 | No |  | 0
17 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length,18Watt), with all needed. |  | 4 | No |  | 0
18 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length, 12Watt), with all needed. |  | 4 | No |  | 0
19 | Supply and install electric outlet or switch with SCHUKO socket, cover and apparent or hidden box including wires/high quality,2*2.5mm2, high quality in the local market, with all connections, the work includes all needed. |  | 15 | No |  | 0
20 | Supply and install electric junctions boxs /dim15*15cm/ at least. |  | 6 | No |  | 0
21 | Supply and Install of wooden Pallets of fir wood for battery, dimension 125*80cm ,12 cm thick, it is a net of boards and rafters of the same wood, the spacing between them is 6 cm and they are carried on wooden cubes, (dim 10 * 10 cm), with all accessories needed |  | 1 | No |  | 0
Total Cost | [5 empty] | 0
First floor
# | Description |  | QTY | UoM | Unit price DDP | Total Price DDP
1 | Supply and installation of solar system | Solar panels of not less than 550 watts | 10 | Each |  | 0
|  | Solar inverter of not less than 5500 watts | 1 | Each |  | 0
|  | Gel battery 12 volts, of not less than 200 amps | 4 | Each |  | 0
2 | Supply and installation steel structure for the solar panels with not less than 3 [mm] thickness |  | 500 | Kg |  | 0
3 | Supply and installation of single-stranded copper-capillary DC cables for connection between solar panels and collector panel 2 x10 mm2 with All necessary works. |  | 32 | Lm |  | 0
4 | Supply and installation of elec. cable, high-quality,local made/, 2.5 mm2, with connecting and all needed. |  | 35 | Lm |  | 0
5 | Supply and installation of elec. cable ,high-quality,local made/, 1.5 mm2, with connecting and all needed. |  | 25 | Lm |  | 0
6 | Supply and install of 1.5*1.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 30 | Lm |  | 0
7 | Supply and install of 3*2.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 20 | Lm |  | 0
8 | Supply and install of 4*4cm plastic trunking for elec. wires in offices and hall with all needed. |  | 20 | Lm |  | 0
9 | Supply and apply electrical distribution board with plastic box /8 lines/ - good quality, with all needed. |  | 1 | No |  | 0
10 | Supply & install of elec. breaker 10-20 Amp /high European grade/ for electric board with all needed. |  | 4 | No |  | 0
11 | Supply & install of elec. breaker 40 Amp /high European grade/ Automatic duplex between the solar energy system and the main gridwith all needed |  | 1 | No |  | 0
12 | Supply & install of elec. breaker 16 Amp, /DC /high European grade/, between the solar panels and the inverter with all needed |  | 2 | No |  | 0
13 | Supply & installation of elec. signal lamp ,high quality, EU made with all needed. |  | 3 | No |  | 0
14 | Supply and installation of elec. cable,high-quality,local made/, (2*6mm2) with connecting and all needed. |  | 15 | Lm |  | 0
15 | Supply and installation of battery cable (AALY ), high-quality,local made/, (2*25mm2) with connecting and all accessories needed. |  | 15 | Lm |  | 0
16 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis (double), sockets, switch, truncking, lighting neon bulb 2nos (led, 120 cm length, 25 Watt), with all needed. |  | 4 | No |  | 0
17 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length,18Watt), with all needed. |  | 2 | No |  | 0
18 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length, 12Watt), with all needed. |  | 2 | No |  | 0
19 | Supply and install electric outlet or switch with SCHUKO socket, cover and apparent or hidden box including wires/high quality,2*2.5mm2, high quality in the local market, with all connections, the work includes all needed. |  | 9 | No |  | 0
20 | Supply and install electric junctions boxs /dim15*15cm/ at least. |  | 6 | No |  | 0
21 | Supply and Install of wooden Pallets of fir wood for battery, dimension 125*80cm ,12 cm thick, it is a net of boards and rafters of the same wood, the spacing between them is 6 cm and they are carried on wooden cubes, (dim 10 * 10 cm), with all accessories needed |  | 1 | No |  | 0
Total Cost | [5 empty] | 0
Second floor
# | Description |  | QTY | UoM | Unit price DDP | Total Price DDP
1 | Supply and installation of solar system | Solar panels of not less than 550 watts | 10 | Each |  | 0
|  | Solar inverter of not less than 5500 watts | 1 | Each |  | 0
|  | Gel battery 12 volts, of not less than 200 amps | 4 | Each |  | 0
2 | Supply and installation steel structure for the solar panels with not less than 3 [mm] thickness |  | 500 | Kg |  | 0
3 | Supply and installation of single-stranded copper-capillary DC cables for connection between solar panels and collector panel 2 x10 mm2 with All necessary works. |  | 33 | Lm |  | 0
4 | Supply and installation of elec. cable, high-quality,local made/, 2.5 mm2, with connecting and all needed. |  | 40 | Lm |  | 0
5 | Supply and installation of elec. cable ,high-quality,local made/, 1.5 mm2, with connecting and all needed. |  | 35 | Lm |  | 0
6 | Supply and install of 1.5*1.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 25 | Lm |  | 0
7 | Supply and install of 3*2.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 20 | Lm |  | 0
8 | Supply and install of 4*4cm plastic trunking for elec. wires in offices and hall with all needed. |  | 15 | Lm |  | 0
9 | Supply and apply electrical distribution board with plastic box /8 lines/ - good quality, with all needed. |  | 1 | No |  | 0
10 | Supply & install of elec. breaker 10-20 Amp /high European grade/ for electric board with all needed. |  | 4 | No |  | 0
11 | Supply & install of elec. breaker 40 Amp /high European grade/ Automatic duplex between the solar energy system and the main gridwith all needed |  | 1 | No |  | 0
12 | Supply & install of elec. breaker 16 Amp, /DC /high European grade/, between the solar panels and the inverter with all needed |  | 2 | No |  | 0
13 | Supply & installation of elec. signal lamp ,high quality, EU made with all needed. |  | 3 | No |  | 0
14 | Supply and installation of elec. cable,high-quality,local made/, (2*6mm2) with connecting and all needed. |  | 15 | Lm |  | 0
15 | Supply and installation of battery cable (AALY ), high-quality,local made/, (2*25mm2) with connecting and all accessories needed. |  | 15 | Lm |  | 0
16 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis (double), sockets, switch, truncking, lighting neon bulb 2nos (led, 120 cm length, 25 Watt), with all needed. |  | 4 | No |  | 0
17 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length,18Watt), with all needed. |  | 2 | No |  | 0
18 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length, 12Watt), with all needed. |  | 2 | No |  | 0
19 | Supply and install electric outlet or switch with SCHUKO socket, cover and apparent or hidden box including wires/high quality,2*2.5mm2, high quality in the local market, with all connections, the work includes all needed. |  | 9 | No |  | 0
20 | Supply and install electric junctions boxs /dim15*15cm/ at least. |  | 6 | No |  | 0
21 | Supply and Install of wooden Pallets of fir wood for battery, dimension 125*80cm ,12 cm thick, it is a net of boards and rafters of the same wood, the spacing between them is 6 cm and they are carried on wooden cubes, (dim 10 * 10 cm), with all accessories needed |  | 1 | No |  | 0
Total Cost | [5 empty] | 0
Third floor
# | Description |  | QTY | UoM | Unit price DDP | Total Price DDP
1 | Supply and installation of solar system | Solar panels of not less than 550 watts | 10 | Each |  | 0
|  | Solar inverter of not less than 5500 watts | 1 | Each |  | 0
|  | Gel battery 12 volts, of not less than 200 amps | 4 | Each |  | 0
2 | Supply and installation steel structure for the solar panels with not less than 3 [mm] thickness |  | 500 | Kg |  | 0
3 | Supply and installation of single-stranded copper-capillary DC cables for connection between solar panels and collector panel 2 x10 mm2 with All necessary works. |  | 25 | Lm |  | 0
4 | Supply and installation of elec. cable, high-quality,local made/, 2.5 mm2, with connecting and all needed. |  | 50 | Lm |  | 0
5 | Supply and installation of elec. cable ,high-quality,local made/, 1.5 mm2, with connecting and all needed. |  | 60 | Lm |  | 0
6 | Supply and install of 1.5*1.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 20 | Lm |  | 0
7 | Supply and install of 3*2.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 10 | Lm |  | 0
8 | Supply and install of 4*4cm plastic trunking for elec. wires in offices and hall with all needed. |  | 15 | Lm |  | 0
9 | Supply and apply electrical distribution board with plastic box /8 lines/ - good quality, with all needed. |  | 1 | No |  | 0
10 | Supply & install of elec. breaker 10-20 Amp /high European grade/ for electric board with all needed. |  | 4 | No |  | 0
11 | Supply & install of elec. breaker 40 Amp /high European grade/ Automatic duplex between the solar energy system and the main gridwith all needed |  | 1 | No |  | 0
12 | Supply & install of elec. breaker 16 Amp, /DC /high European grade/, between the solar panels and the inverter with all needed |  | 2 | No |  | 0
13 | Supply & installation of elec. signal lamp ,high quality, EU made with all needed. |  | 3 | No |  | 0
14 | Supply and installation of elec. cable,high-quality,local made/, (2*6mm2) with connecting and all needed. |  | 20 | Lm |  | 0
15 | Supply and installation of battery cable (AALY ), high-quality,local made/, (2*25mm2) with connecting and all accessories needed. |  | 20 | Lm |  | 0
16 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis (double), sockets, switch, truncking, lighting neon bulb 2nos (led, 120 cm length, 25 Watt), with all needed. |  | 4 | No |  | 0
17 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length,18Watt), with all needed. |  | 2 | No |  | 0
18 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length, 12Watt), with all needed. |  | 2 | No |  | 0
19 | Supply and install electric outlet or switch with SCHUKO socket, cover and apparent or hidden box including wires/high quality,2*2.5mm2, high quality in the local market, with all connections, the work includes all needed. |  | 9 | No |  | 0
20 | Supply and install electric junctions boxs /dim15*15cm/ at least. |  | 4 | No |  | 0
21 | Supply and Install of wooden Pallets of fir wood for battery, dimension 125*80cm ,12 cm thick, it is a net of boards and rafters of the same wood, the spacing between them is 6 cm and they are carried on wooden cubes, (dim 10 * 10 cm), with all accessories needed |  | 1 | No |  | 0
Total Cost | [5 empty] | 0
Forth floor
# | Description |  | QTY | UoM | Unit price DDP | Total Price DDP
1 | Supply and installation of solar system | Solar panels of not less than 550 watts | 10 | Each |  | 0
|  | Solar inverter of not less than 5500 watts | 1 | Each |  | 0
|  | Gel battery 12 volts, of not less than 200 amps | 4 | Each |  | 0
2 | Supply and installation steel structure for the solar panels with not less than 3 [mm] thickness |  | 500 | Kg |  | 0
3 | Supply and installation of single-stranded copper-capillary DC cables for connection between solar panels and collector panel 2 x10 mm2 with All necessary works. |  | 25 | Lm |  | 0
4 | Supply and installation of elec. cable, high-quality,local made/, 2.5 mm2, with connecting and all needed. |  | 55 | Lm |  | 0
5 | Supply and installation of elec. cable ,high-quality,local made/, 1.5 mm2, with connecting and all needed. |  | 65 | Lm |  | 0
6 | Supply and install of 1.5*1.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 20 | Lm |  | 0
7 | Supply and install of 3*2.5 cm plastic trunking for elec. wires in offices and hall with all needed. |  | 15 | Lm |  | 0
8 | Supply and install of 4*4cm plastic trunking for elec. wires in offices and hall with all needed. |  | 15 | Lm |  | 0
9 | Supply and apply electrical distribution board with plastic box /8 lines/ - good quality, with all needed. |  | 1 | No |  | 0
10 | Supply & install of elec. breaker 10-20 Amp /high European grade/ for electric board with all needed. |  | 4 | No |  | 0
11 | Supply & install of elec. breaker 40 Amp /high European grade/ Automatic duplex between the solar energy system and the main gridwith all needed |  | 1 | No |  | 0
12 | Supply & install of elec. breaker 16 Amp, /DC /high European grade/, between the solar panels and the inverter with all needed |  | 2 | No |  | 0
13 | Supply & installation of elec. signal lamp ,high quality, EU made with all needed. |  | 3 | No |  | 0
14 | Supply and installation of elec. cable,high-quality,local made/, (2*6mm2) with connecting and all needed. |  | 15 | Lm |  | 0
15 | Supply and installation of battery cable (AALY ), high-quality,local made/, (2*25mm2) with connecting and all accessories needed. |  | 15 | Lm |  | 0
16 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis (double), sockets, switch, truncking, lighting neon bulb 2nos (led, 120 cm length, 25 Watt), with all needed. |  | 4 | No |  | 0
17 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length,18Watt), with all needed. |  | 2 | No |  | 0
18 | Supply and installation of full light point with all needed, including wires (high quality, 2*1.5mm2), chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length, 12Watt), with all needed. |  | 2 | No |  | 0
19 | Supply and install electric outlet or switch with SCHUKO socket, cover and apparent or hidden box including wires/high quality,2*2.5mm2, high quality in the local market, with all connections, the work includes all needed. |  | 13 | No |  | 0
20 | Supply and install electric junctions boxs /dim15*15cm/ at least. |  | 6 | No |  | 0
21 | Supply and Install of wooden Pallets of fir wood for battery, dimension 125*80cm ,12 cm thick, it is a net of boards and rafters of the same wood, the spacing between them is 6 cm and they are carried on wooden cubes, (dim 10 * 10 cm), with all accessories needed |  | 1 | No |  | 0
Total Cost | [5 empty] | 0
Location 2: Supply and Installation of Solar System in Health Clinic in Qarfa _ Dara Governorate
# | Description |  | QTY | UoM | Unit Price (DDP Shahbaa) | Total Cost (DDP Shahbaa)
1 | Supply and installation of solar system | Solar panels of not less than 550 watts | 10 | Each |  | 0
|  | Solar inverter of not less than 5500 watts | 1 | Each |  | 0
|  | Gel battery 12 volts, of not less than 200 amps | 4 | Each |  | 0
4 | Supply and installation steel structure for the solar panels with not less than 2.5 [mm] thickness |  | 500 | Kg |  | 0
5 | Supply and install electrical panel suitable for 8 lines includes all the breakers needed to operate with all needed. |  | 2 | No |  | 0
6 | Supply and install a combiner box for the panels, insulated s to include the protection fuses and voltage dischargersto with all works, accessories and items necessary to achieve the optimal installation |  | 2 | No |  | 0
7 | Provide and install Circuit breaker (DC type) for batteries rating 100A , (EU origin), first quality. |  | 1 | No |  | 0
8 | Provide and install DC circuit breaker rating 20 A for PV panels, (EU origin), first quality. |  | 1 | No |  | 0
9 | Provide and install Electric DC fuse:15 Amp installed after the solar panels , to be installed within the combiner box at the top roof, first quality. |  | 2 | No |  | 0
10 | Provide and install 25 A MCB 2P circuit breaker for lightining circuits, (EU origin), first quality |  | 1 | No |  | 0
11 | Provide and install 32 A MCB 2P circuit breaker for power circuits, (EU origin), first quality. |  | 1 | No |  | 0
12 | Provide and install 40 A circuit protection as main, (EU origin), first quality. |  | 1 | No |  | 0
13 | Provide and connect soft annealed copper AALY Cable (1*25) between the batteries and inverter inside plastic pipes . |  | 5 | m/l |  | 0
14 | Provide and connect soft annealed copper NYY Cable (2*6) mm2 inside plastic pipes From the main electrical panel to the inverter |  | 14 | m/l |  | 0
15 | Provide and connect soft annealed copper DC Cable (1*10) mm2 inside PVC or plastic pipes from the solar panel to to the combiner box for the panels. |  | 8 | m/l |  | 0
16 | Provide and connect soft annealed copper DC Cable (2*10) mm2 inside PVC or plastic pipes from the combiner box for the panels to the solar panel breaker to the inverter . |  | 25 | m/l |  | 0
17 | Supply and install a surge arrestor system consists of poles each of them equipped with a surge arrestor at its upper end (franklin rods). the arrestor is connected to a grounding rod (section 25 mm2 and length 2 m) through a bare copper conductor with cross section 50mm2 planted vertiaclly in the ground , the total resistance of the system should not exceed electrical resistance 5 ohm. with all needed accessories for proper installation contractor should provide study for the anti-lightning system |  | 1 | Ls |  | 0
18 | Supply and installation of full light point with all needed, including wires, high quality, 2*1.5 mm2, chassis (double), sockets, switch, truncking, lighting neon bulb 2nos (led, 120 cm length, 28 Watt), with all needed. |  | 3 | No |  | 0
19 | Supply and installation of full light point with all needed, including wires, or high quality, 2*1.5mm2, chassis, sockets, switch, truncking, lighting neon bulb 1nos (led, 60 cm length,18Watt), with all needed. |  | 7 | No |  | 0
20 | Supply and install electric outlet or switch with SCHUKO socket, cover and apparent or hidden box including wire, high quality,2*2.5mm2, with all connections, the work includes all needed (wires from the braker to the socket with 15m ) . |  | 14 | No |  | 0
21 | Supply and installation of a 15000 W electrical voltage regulator, 16-phase digital system, high quality, with all necessary accessories and a metal base for installation. |  | 1 | No |  | 0
22 | Supply and install a suitable metal cage protection for batteries consists of metal tubes and bars , with metal mesh they should be painted with primer anti rust layer and one finishing layer, combined by welding including all needed materials and accessories for a proper installation, the contractor have to submit a shop drawing. |  | 40 | Kg |  | 0
Total Cost | [5 empty] | 0
IMPORTANT: DO NOT CHANGE THE FORMAT OF THIS FORM - All Prices/Rates shall be on an ALL INCLUSIVE basis; - The estimated values for quantities and total amounts under "rates on as-needed/by-request basis" shall be used for evaluation purposes only in order for UNHCR to compare offers; - The "Total Fixed Costs and Rates on as-needed basis" shall be fixed for the duration of the contract; - The standard payment terms of UNHCR are net 30 days upon satisfactory delivery of goods and/or services, receipt of the invoice (and supporting documents) and acceptance thereof by UNHCR. - All bank charges resulting to payments made to the Service-Provider by UNHCR Syria shall be shouldered by the Service-Provider;
For Evaluation Purposes Only: - if offers are received in various currencies, the offers submitted in currency other than US Dollars will be converted into US Dollars using the United Nations Operational Rate of Exchange (https://treasury.un.org/operationalrates/OperationalRates.php) in effect on the date the submissions are due.
By signing on this document, , which I am duly authorized to sign for, I confirm that I have read and understood all related documents as provided by UNHCR. This is also to confirm that our company shall abide by our bid until its validity expires.
(person authorised to sign on behalf of the Bidder)
Signature over Printed Name
Position Title
Date and Place Signed
STAMP OF THE COMPANY