Section III: Returnable Bidding Forms

eSourcing reference: ITB/2024/54696 - Supply, Delivery and Installation of General Furniture for Faculty of Mathematics and Natural Sciences of the University of Pristina

Note to Bidders: The following returnable forms are part of this ITB and must be completed and returned by bidders as part of their Bid. Instructions to complete each Form are highlighted in blue in each Form. Please complete the Returnable Bidding Forms as instructed and return them as part of your bid by uploading them against their specific Document Checklist in the UNOPS eSourcing system.

Form D: Technical Bid Form

ITB reference no: ITB/2024/54696

Name of Bidder: [insert name of bidder]

Bidders are required to complete the Comparative Data Tables included in Section II: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your bid.

Technical specifications for Goods – Comparative Data Table

| Lot No | UNOPS minimum technical requirements | s Bid compliant? Bidder to complete | Details of goods offered. Bidder to complete |  |
| --- | --- | --- | --- | --- |
| Guidance to Bidders: The copies of the required certifications shall be included in the offer; Compliance with all other requested applicable technical standards is Mandatory; All other parts, accessories, options, which were not included or mentioned in the technical specifications below, but are strictly necessary for the proper functioning of the furniture products shall be provided in the offer; |  |  |  |  |
| Lot 1 | Classroom Chairs |  |  |  |
| Item 1.1 | Chair with table |  |  |  |
| - Frame: Chrome plated tube (22/2 mm), glossy or matte finish, +-10% variation accepted. Frame - chrome plated tube (22/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Colour: Chrome matte (or glossy, as specified). Colour: chrome mat; |  |  |  |  |
| - Folding table included HPL -RAL 7035 Light grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Electrostatic powder coating process with epoxy resin powder at a temperature of 220° shall be applied to steel tube frames providing a scratch-resistant and shockproof surface. |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Curved seat and back-rest upholstered fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Colour - RAL 7035 Light grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W800mm x D450mm x H2000mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 17 for the Lot/Item 1.1 |  |  |  |  |
| Item 1.2 | Chair |  |  |  |
| - Frame: Chrome plated tube (22/2 mm), glossy or matte finish, +-10% variation accepted. Frame - chrome plated tube (22/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Colour: Chrome matte (or glossy, as specified). Colour: chrome mat; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Electrostatic powder coating process with epoxy resin powder at a temperature of 220° shall be applied to steel tube frames providing a scratch-resistant and shockproof surface; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Curved seat and back-rest upholstered fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - RAL 7035 Light grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W800mm x D450mm x H2000mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 18 for the Lot/Item 1.2 |  |  |  |  |
| Item 1.3 | Students Chair |  |  |  |
| - Frame: Chrome plated tube (22/2 mm), finish can be glossy or matte, +-10% variation is accepted. Frame - chrome plated tube (22/2 mm), +-10% variation is accepted. |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Colour: Chrome matte (or glossy, as specified). Color: chrome mat; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Curved Seat and back-rest shell - Beech multiplex; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: clear varnish; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Polished 8 mm multiplex beech plywood shell; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W564 x D530 x H430 - (790-total), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 24 for the Lot/Item 1.3 |  |  |  |  |
| Item 1.4 | Students Chair with folding table |  |  |  |
| - Folding table and storage basket included; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Frame: Chrome plated tube (22/2 mm), finish can be glossy or matte, +-10% variation is accepted. Frame - chrome plated tube (22/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Colour: Chrome matte (or glossy, as specified). Color: chrome mat |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Curved Seat and back-rest shell - Beech multiplex; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: clear varnish; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Polished 8 mm multiplex beech plywood shell; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W564 x D506 x H430 - (790 - total), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 25 for the Lot/Item 1.4 |  |  |  |  |
| Item 1.5 | Professors chair |  |  |  |
| - Frame - high grade epoxy resin-coated round steel tube (22/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 9005; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Seat -rest upholstered fabric Back - mesh fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W478 x D511 x H446 (812 - total), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 26 for the Lot/Item 1.5 |  |  |  |  |
| Lot 2 | Lecture Hall Seat and Table |  |  |  |
| Item 2.1 | Seat and back with fixed writing table. (middle rows) |  |  |  |
| - Seat and back with fixed writing table; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Fixed seats, structure with floor legs on all sides; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Fixed writing table; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Seat and backrest in oak plywood with upholstered panels. |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - light grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W510mm x D480mm x H1200mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 88.1 for the Lot/Item 2.1 |  |  |  |  |
| Item 2.2 | Seat and back (last row) |  |  |  |
| - Seat and back; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W510mm x D280mm x H800mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 88.2 for the Lot/Item 2.2 |  |  |  |  |
| Item 2.3 | 30 cm - Fixed writing table with panel (first row) |  |  |  |
| - 30 cm - Fixed writing table with panel (first row); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W510mm x D380mm x H800mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 88.3 for the Lot/Item 2.3 |  |  |  |  |
| Lot 3 | Other Chairs (Library, Office, Social Pockets) |  |  |  |
| Item 3.1 | Swivel office chair with handles |  |  |  |
| - Frame - with piston and wheels; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 9005; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Aluminium legs; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Black polyurethane foam on a steel rood. Resistant to tool damage, sparks, mildly acidic substances etc.; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Adjustable by gas lift with dampener; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Base with protective caps; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Seat - rest upholstered fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Back - elastic mesh upholstery; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - Light grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W480mm x D480mm x H420-549mm - adjustable, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 2 for the Lot/Item 3.1 |  |  |  |  |
| Item 3.2 | Comfortable Chair (Lobby/pockets/office) |  |  |  |
| - Frame with piston: Metal, with integrated piston for height adjustment, +-10% variation is accepted. Frame with piston and wheels- Metal |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - Black (RAL 9005); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Seat and back rest - upholstered fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - Green (30 pcs); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - Brown (30 pcs); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - Purple (30 pcs); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W740mm x D680mm x H450mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 7 for the Lot/Item 3.2 |  |  |  |  |
| Item 3.3 | Comfortable Seat/Chair (Library) |  |  |  |
| - Frame with piston: Metal, with integrated piston for height adjustment, +-10% variation is accepted. Frame with piston and wheels- Metal |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - Black (RAL 9005); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev ; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Seat and back rest - upholstered fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - Dark Purple violet; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W750mm x D750mm x H450mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 79 for the Lot/Item 3.3 |  |  |  |  |
| Item 3.4 | Armchair (Library) |  |  |  |
| - Curved seat and back-rest upholstered fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - RAL 5004 Black blue; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Wooden legs - Oak lacquer; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W535mm x D700mm x H450mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 80 for the Lot/Item 3.4 |  |  |  |  |
| Item 3.5 | Armchair (Lobby/pockets/restaurant) |  |  |  |
| - Curved seat and back-rest upholstered fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - RAL 3007 Black red; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Wooden legs - Oak lacquer; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W750mm x D750mm x H450mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 81 for the Lot/Item 3.5 |  |  |  |  |
| Item 3.6 | Armchair (Lobby/pockets/restaurant) |  |  |  |
| - Frame - High-grade precision steel, oval tube (35/15/2 mm), seat support rectangular tube(30/15/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Electrostatic powder coating process with epoxy resin powder at a temperature of 220° shall be applied to steel tube frames providing a scratch-resistant and shockproof surface; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Curved seat and back-rest upholstered fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - RAL 5004 Black blue; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W600mm x D500mm x H450mm +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 82 for the Lot/Item 3.6 |  |  |  |  |
| Item 3.7 | Bar Chair |  |  |  |
| - Frame - chrome plated tube (22/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: chrome mat; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Curved Seat and back-rest shell - Oak multiplex; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: clear varnish; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Polished 8 mm multiplex oak plywood shell; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Chrome plated tubular steel welded base; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floors, base is welded; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W564mm x D555mm x H731mm (1024mm in total), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 86 for the Lot/Item 3.7 |  |  |  |  |
| Lot 4 | Shelves |  |  |  |
| Item 4.1 | Double-Sided Bookshelves with different dimensions |  |  |  |
| - Double-sided metal Shelves, with cross tension bars situated behind to support the bookcase unit's stable form, and create aesthetic characteristics |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 9007 grey aluminium; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Melamine Side Panels - color: RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Shelves with metal brackets to support/separate the books; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1600mm x D700mm x H2100mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2400mm x D700mm x H2100mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 76 for the Lot/Item 4.1 |  |  |  |  |
| Item 4.2 | One-Sided Bookshelves with different dimensions |  |  |  |
| - One-sided metal Shelves, with cross tension bars situated behind to support the bookcase unit's stable form, and create aesthetic characteristics; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 9007 grey aluminium; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Melamine Side Panels - color: RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Shelves with metal brackets to support/separate the books; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1200mm x D350mm x H2100mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1400mm x D350mm x H2100mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1600mm x D350mm x H2100mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1800mm x D350mm x H2100mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2000mm x D700mm x H2100mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2200mm x D700mm x H2100mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2600mm x D700mm x H2100mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 77 for the Lot/Item 4.2 |  |  |  |  |
| Item 4.3 | Under Table Cabinet |  |  |  |
| - Casing and doors- 18mm chipboard melamine coated; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Design: RAL 9010 Pure white; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - High density chipboard coated with high quality melamine resine, PP -Plastic Polypropylene 3mm 2-3 mm edge; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Rolling drawer unit; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Metal drawer slides and runners; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Pre-drilled for fixing drawer backs and bases; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Features: Aluminium door handles |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Satin anodised aluminium door handles; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W360mm x D600mm x H620mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 13 for the Lot/Item 4.3 |  |  |  |  |
| Item 4.4 | Aluminium Framed Acrylic/Glass Door Cabinets |  |  |  |
| - Doors: Frame is Aluminium framed acrylic and Clear glass |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Aluminium door handles; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Four adjustable shelves; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Casing - 18mm chipboards melamine coated Color RAL 9002 Grey white; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W800mm x D450mm x H2000mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W100mm W1000mm x D450mm x H2000mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 14.1 and 14.2 for the Lot/Item 4.4 |  |  |  |  |
| Item 4.5 | Door Cabinets with Open Shelves |  |  |  |
| - Doors: 18 mm MDF (RAL 9002 Grey white); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Aluminium door handles; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Four adjustable shelves; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Casing - 18mm chipboards melamine coated (RAL 9002 Grey white); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W800mm x D450mm x H2000mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1000mm x D450mm x H2000mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 15.1 and 15.2 for the Lot/Item 4.5 |  |  |  |  |
| Item 4.6 | Short - Door Cabinets |  |  |  |
| - Doors: 18 mm MDF (RAL 9002 Grey white); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Aluminium door handles; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Two adjustable shelves; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Casing - 18mm chipboards melamine coated (RAL 9002 Grey white); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W800mm x D450mm x H800mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 16 for the Lot/Item 4.6 |  |  |  |  |
| Lot 5 | Workstations, Tables, Podiums, Kitchenettes, Receptions, Desks |  |  |  |
| Item 5.1 | Two (2) Persons Workstation |  |  |  |
| - Frame - rust-proof metal, square (40/40/2 mm);High-grade precision steel, square (40/40/2 mm); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Laminate table top, with cable outlet. Color: Light Grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - For better sound absorption between the modules, use fabric in the panels. Color: Light Grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W1230mm x D2010mm x H1200mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 75 for the Lot/Item 5.1 |  |  |  |  |
| Item 5.2 | Table - Custom |  |  |  |
| - Tabletop - 22mm MDF laminate coated - Design: Oak; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Cladding - 22mm MDF laminate coated - Design: RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Frame - High-grade precision metal. Color: RAL 9005 Jet black; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Metal square profiles (70/70/2 mm) (50/50/2 mm), and C profile (50/30/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Lightning and Greenery in the middle is incorporated; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W2550mm x D4100mm x H740mm; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 78 for the Lot/Item 5.2 |  |  |  |  |
| Item 5.3 | Table (for restaurant) with different dimensions |  |  |  |
| - Frame - High-grade precision steel, square (40/40/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 9005 Jet black; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Tabletop - 22mm MDF laminate coated - Design: Oak; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Electrostatic powder coating process with epoxy resin powder at a temperature of 220° shall be applied to steel tube frames providing a scratch-resistant and shockproof surface; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floor; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 22mm MDF-coated with high pressure laminate |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W800mm x D800mm x xH720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1400mm x D800mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2000mm x D800mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 83.1, 83.2 and 83.3 for the Lot/Item 5.3 |  |  |  |  |
| Item 5.4 | Round Table (for restaurant) |  |  |  |
| - Frame - High-grade precision steel, tube (d=75 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 9005 Jet black; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Tabletop - 22mm MDF laminate coated - Design: Oak; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Legs with plastic gliders to prevent damage to floor; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 22mm MDF-coated with high pressure laminate; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W700mm x D700mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 84 for the Lot/Item 5.4 |  |  |  |  |
| Item 5.5 | Kitchen Table with different dimensions |  |  |  |
| - Frame: High-grade precision metal, square (40/40/2 mm), steel, +-10% variation is accepted. Frame - High-grade precision metal, square (40/40/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 9005 Jet black; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Top: MDF 22 mm, coated with high-pressure laminate (HPL), RAL 7016 Anthracite grey. Top - MDF 22 mm coated with high pressure; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Electrostatic Powder Coating: Epoxy resin powder applied at 220°C to metal tube frames, providing a scratch-resistant and shockproof surface. Electrostatic powder coating process with epoxy resin powder at a temperature of 220° shall be applied to metal tube frames providing a scratch-resistant and shockproof surface.. |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floor; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2100mm x D400mm x H950mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1800mm x D700mm x H950mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 85.1 and 85.2 for the Lot/Item 5.5 |  |  |  |  |
| Item 5.6 | Kitchenette with different dimensions |  |  |  |
| - Doors: 18 mm MDF (RAL 9003 Signal white); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Push opening system for doors and drawers; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Casing - 18mm chipboards melamine coated (RAL 9003 Signal white); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Worktop - HPL (high pressure laminate panels) 1 mm. Color: RAL 7035 Light grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Stainless steel; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Sink + Faucet integrated in the table, with cold and hot water connection, waste water connection; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Equipment to be included: Microwave, Refrigerator, Trash can; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W3000mm x D600mm x H900mm (total 2260mm) |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W4000mm x D600mm x H900mm (total 2260mm) |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 87.1 and 87.2 for the Lot/Item 5.6 |  |  |  |  |
| Item 5.7 | Podium (Lecture Hall) |  |  |  |
| - Podium with front and side panels and top unit; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Microphone top access; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Table with front and side panels with top unit; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Frame: High-grade precision steel, square(40/40/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7042; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Top/Front and Side panels: 18mm MDF-coated with high pressure laminate; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: Top - Beech plywood; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Front and Side - Light grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Cable outlet in the top access with aluminium dust-proof door; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Horizontal fixed cable management included; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W650mm x xD630mm x H1050mm or up to 1200 mm; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 89 for the Lot/Item 5.7 |  |  |  |  |
| Item 5.8 | Speakers Table (Lecture Hall) |  |  |  |
| - Microphone top access; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Frame: High-grade precision steel, square(40/40/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color RAL 7042; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Top/Front and Side panels: 18mm MDF-coated with high pressure laminate; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: Top - Beech plywood; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Front and Side - Light grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W2400 x D830 x H750mm or up to 900mm; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 90 for the Lot/Item 5.8 |  |  |  |  |
| Item 5.9 | Working Desk (Office, Library) with different dimensions |  |  |  |
| - Frame - High-grade precision steel, square(40/40/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7042 Traffic grey A; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Tabletop - 18mm MDF laminate coated - RAL 9010 Pure white; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Electrostatic powder coating process with epoxy resin powder at a temperature of 220° shall be applied to steel tube frames providing a scratch-resistant and shockproof surface; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floor; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 18mm MDF-coated with high pressure laminate; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1400mm x D800mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1600mm x D800mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1800mm x D800mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2000mm x D800mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1800mm x D1200mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2000mm x D1200mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2400mm x D1200mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W3200mm x D1200mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 11.1, 11.2, 11.3, 11.4, 12.1, 12.2, 12.3, 12.4 for the Lot/Item 5.9 |  |  |  |  |
| Item 5.10 | Students Computer Desk with different dimensions |  |  |  |
| - Frame - High-grade precision steel, square(40/40/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7042 Traffic grey A |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Tabletop - 18mm MDF laminate coated - Iron grey RAL 7011; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Four swivel castors |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Wheel material - resilient rubbe, |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 18mm MDF-coated with high pressure laminate; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W720mm x D700mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1500mm x D700mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 21.1 and 21.2 for the Lot/Item 5.10 |  |  |  |  |
| Item 5.11 | Students Desk |  |  |  |
| - Frame - High-grade precision steel, square(40/40/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7042 Traffic grey A; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Four swivel castors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Wheel material - resilient rubber; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Tabletop - 18mm MDF laminate coated - Iron grey RAL 7011; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Electrostatic powder coating process with epoxy resin powder at a temperature of 220° shall be applied to steel tube frames providing a scratch-resistant and shockproof surface; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floor; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 18mm MDF-coated with high pressure laminate |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W1200mm x D600mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 22 for the Lot/Item 5.11 |  |  |  |  |
| Item 5.12 | Teachers Desk |  |  |  |
| - Frame - High-grade precision steel, square(40/40/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7042 Traffic grey A; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Four swivel castors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Wheel material - resilient rubber; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Tabletop - 18mm MDF laminate coated - Iron grey RAL 7011; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Electrostatic powder coating process with epoxy resin powder at a temperature of 220° shall be applied to steel tube frames providing a scratch-resistant and shockproof surface; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floor; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 18mm MDF-coated with high pressure laminate; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W1600mm x D800mm x H720mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 23 for the Lot/Item 5.12 |  |  |  |  |
| Lot 6 | Furniture for Breastfeeding Room |  |  |  |
| Item 6.1 | Changing Table for Babies |  |  |  |
| - Casing - 18mm chipboards melamine coated (RAL 9002); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Aluminium door handles; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Drawer doors: 18mm MDF (RAL 9002); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Changing pillow and linens included; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W1200mm x D500mm x H900mm; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 91 for the Lot/Item 6.1 |  |  |  |  |
| Item 6.2 | Baby Cradle with Mattress |  |  |  |
| - Rocking crib, which can be static; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Material Main parts/ Leg/ Spindles/ Bed base frame; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Solid wood, Tinted clear acrylic lacquer; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Bed rail: Solid wood, Fiberboard, Tinted clear acrylic lacquer; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Fabric: 100 % nylon; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Foam mattress and bedlinens for crib to be included; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W840mm x D660mm x H530mm; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 92 for the Lot/Item 6.2 |  |  |  |  |
| Item 6.3 | Children Play Area Fence-Panels |  |  |  |
| - 6 panels of (800x600mm); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Interlocking plastic panels; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Easy to assemble; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Included skid-resistant pads; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions L6400mm x W50mm x H600mm; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 93 for the Lot/Item 6.3 |  |  |  |  |
| Item 6.4 | Carpet |  |  |  |
| - Design - educational and playful (example car roads, etc); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Child safe non-toxic; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Material is Nylon Pile Surface w/ Latex Backing; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Non-slip, lightweight; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W2200mm x D2600mm; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 94 for the Lot/Item 6.4 |  |  |  |  |
| Item 6.5 | Steel Diaper Waste Container |  |  |  |
| - Frame - Steel and aluminium construction; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color - White or Grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - With safety lock; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Air tight lid and uses standard trash bags; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Prevents leaks and keeps odours locked in; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions D300mm x H635mm, +-20% variation is accepted; +- 10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 95 for the Lot/Item 6.5 |  |  |  |  |
| Lot 7 | Plant Pots |  |  |  |
| Item 7.1 | Rectangular Plant Pot |  |  |  |
| - Rectangular Plant Pot, with Drainage hole and water holder; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - High-density polyethylene; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W900mm x D350mm x H400mm, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 97 for the Lot/Item 7.1 |  |  |  |  |
| Item 7.2 | Round Plant Pot |  |  |  |
| - Round Plant Pot, with Drainage hole and water holder; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - High-density polyethylene; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 8016 Mahogany brown; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions D400mm x H600mm, +-20% variation is accepted; +- 10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 98 for the Lot/Item 7.2 |  |  |  |  |
| Item 7.3 | Large Indoor Plant Pot |  |  |  |
| - Round Plant Pot, with Drainage hole and water holder; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Sandstone resin with colour pigment. Matt, lightly textured finish; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions D700mm x H600mm, +-20% variation is accepted; +- 10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 99 for the Lot/Item 7.3 |  |  |  |  |
| Lot 8 | Sofas, paintings, coffee tables, coat racks, mobile extension walls |  |  |  |
| Item 8.1 | Painting Picture |  |  |  |
| - Modern Simple Art Poster, Multicolored Abstract Wall Art, Canvas Painting Picture, Poster Geometric Gallery; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W800mm x H1400mm, +-20% variation is accepted; +- 10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 100 for the Lot/Item 8.1 |  |  |  |  |
| Item 8.2 | Info Reception (Lobby and Library) with different dimensions |  |  |  |
| - Tablesframe - High-grade precision steel, square tube (40/40/2 mm), +-20% variation is accepted; +- 10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Casing - 18mm chipboards melamine coated - Color: Iron grey RAL 7011; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Tabletop - 18mm MDF laminate coated - Iron grey RAL 7011; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Electrostatic powder coating process with epoxy resin powder at a temperature of 220° shall be applied to steel tube frames providing a scratch-resistant and shockproof surface. |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plastic gliders to prevent damage to floor; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Panels furnishing is Upholstery - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Grey and Black; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W3200mm x D1000mm x H1050mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2200mm x D1000mm x H1050mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 1.1 and 1.2 for the Lot/Item 8.2 |  |  |  |  |
| Item 8.3 | Seating Area (Lobby /Pockets) |  |  |  |
| - Includes sofa, pouff and coffee tables; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Coffee table structure is stainless steel profiles with white compact laminated; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Sofa frame - 18mm chipboards- with stainless steel legs; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Sofas and pouff furnishing is Upholstery - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 6011 Reseda green; RAL 5009 Azure blue; RAL 5011 Steel blue; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W3470mm (1460 - 1 seat) (550 - 1 pouff) x D3470mm (1460 - 1 seat) (550 - 1 pouff) x H380mm (489 - with table) |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 3 for the Lot/Item 8.3 |  |  |  |  |
| Item 8.4 | Seating Area (Lobby/Pockets) |  |  |  |
| - Includes sofa and coffee tables; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Coffee table structure is stainless steel profiles with white compact laminated; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Sofa frame - 18mm chipboards- with stainless steel legs; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Sofas furnishing is Upholstery - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 3004 Purple red; RAL 1001 Beige; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W3220mm (1610 - 1 seat) x D1460mm x H380mm (489 - with table) |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 4 for the Lot/Item 8.4 |  |  |  |  |
| Item 8.5 | Seating Area (Lobby/Pockets) |  |  |  |
| - Sofa frame - 18mm chipboards- with stainless steel legs |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Sofas furnishing is Upholstery - 100% polyacrylic DRALON. |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 6011 Reseda green; RAL 7016 Anthracite grey |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W1400mm x D1400mm x H590mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 5 for the Lot/Item 8.5 |  |  |  |  |
| Item 8.6 | Sofa with different dimensions |  |  |  |
| - High density chipboards assembled with metal connectors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Frame - 18mm chipboards- upholstered; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Seat and back-rest upholstered; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 6011 Reseda green (4 pcs.); RAL 7016 Anthracite grey (7 pcs.); |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1800mm x D1000mm x H400mm (total -600mm) |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W2200mm x D900mm x H400mm (total - 600mm) |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 6.1 and 6.2 for the Lot/Item 8.6 |  |  |  |  |
| Item 8.7 | Social seating |  |  |  |
| - Upholstery - polyacrylic DRALON |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - COLOR: Yellow - 8 pcs, Red - 8 pcs; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Frame - 18mm high density chipboards- with stainless steel legs; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 100% polyacrylic DRALON |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight: 530 g/m, +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Abrasion resistance according to Martindale approx. 40,000 rev; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W400mm x D400mm x H590mm; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 8 for the Lot/Item 8.7 |  |  |  |  |
| Item 8.8 | Coffee Table with different dimensions |  |  |  |
| - Frame - chrome plated tube (22/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: Metallic Chrome; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Tabletop - MDF; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 18mm MDF - coated with high pressure laminate; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 1810 stainless steel profiles, polished, assembled with boolts Metallic Chrome finish; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions D450mm x H450mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions D800mm x H450mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 9.1 and 9.2 for the Lot/Item 8.8 |  |  |  |  |
| Item 8.9 | Coffee Table with different dimensions |  |  |  |
| - Frame - chrome plated tube (22/2 mm), +-10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: Metallic Chrome; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 1810 stainless steel profiles, polished, assembled with boolts; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Metallic Chrome finish; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Tabletop - MDF; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 7016 Anthracite grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 18mm MDF - coated with high pressure laminate; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W600mm x D600mm x H450mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| With dimensions W1200mm x D600mm x H450mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 10.1 and 10.2 for the Lot/Item 8.9 |  |  |  |  |
| Item 8.10 | Mobile Exhibition Walls |  |  |  |
| - Frame and Posts - Aluminium; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Anodized aluminium frame, and posts; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Panels Color: Light grey; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 8mm plywood coated with fabric; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Metal plate base Ø 250 mm; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Anodized aluminium metal base plates; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W1500mm x D30mm x H1800mm; W1500mm x D5mm x H1800mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 19 for the Lot/Item 8.10 |  |  |  |  |
| Item 8.11 | Coat Rack |  |  |  |
| - Easily moved; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Toxin-free; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Durable; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Weight capacity of 20 kg; +-20% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Natural finish; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Four coat hooks; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Plywood in oak veneer; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Rubber wood connector; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions Base - 0.5m2 x H1700mm, +-20% variation is accepted; +- 10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 20 for the Lot/Item 8.11 |  |  |  |  |
| Lot 9 | Chalkboard |  |  |  |
| - Anodized aluminium frame; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Vinyl surface - easily erasable; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Aluminium chalk and sponge tray. Accessories: S-hook to cling pictures and cards (10 pcs), picture clamp (10 pcs), solenoids small (2 cm) and large (3 cm) (10 pcs) with colors; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Wall mounted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Protective, durable and scratch resistant blackboard surface; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions: W2000mm x D22mm x H1000mm; +-20% variation is accepted; W200mm x D22mm x H130mm |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 27 for the Lot/Item 9 |  |  |  |  |
| Lot 10 | Wastebaskets |  |  |  |
| Item 10.1 | Wastebasket |  |  |  |
| - Base- Powder coated; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 9005; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Body- Powder coated wire mesh; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Color: RAL 9005; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Round wastebasket with wire mesh with weight 1.50 lbs and capacity 18.000 qt.; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions Ø 1 - 300, Ø 2 - 350 x H500mm, +-20% variation is accepted; +- 10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 29 for the Lot/Item 10.1 |  |  |  |  |
| Item 10.2 | Recycling Waste Basket |  |  |  |
| - Capacity - 70 litres; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Easy maintenance; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Excellent durability; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Material: Stainless steel with plastic insert; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - 4 Recycling waste baskets; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Green - Paper; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Blue - Plastics; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Grey - Metal/Cans; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Black - General waste; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| - Dimensions W1400mm x D500mm x H810mm, +-20% variation is accepted; +- 10% variation is accepted; |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant specifications and references to manuals |  |
| For the reference, we have provided drawings for the furniture plans. In drawings, please refer to number 30 for the Lot/Item 10.2 |  |  |  |  |

Details for the below should be provided

| Country of origin Country of origin of the offered product should be specified |  | ☐ Yes ☐ No | Insert details of goods offered, including relevant country of origin |  |
| --- | --- | --- | --- | --- |
| Supply and delivery time Supply and delivery time of offered products to be specified |  | ☐ Yes ☐ No | Insert details of relevant delivery time |  |
| Unloading of equipment Unloading all goods within a Lot at final places of destination |  | ☐ Yes ☐ No | Insert relevant details and confirmation for unloading |  |
| Validity of the Warranty The warranty shall remain valid for twelve (12) months after the Goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination. The Warranty should include replacement of defective parts/ cracks, breakages, or warping, defects in the upholstery, including fabric tears, discoloration, stitching issues, or fabric wear that occur under normal usage, coverage for mechanisms, for the furniture that are assembled, coverage for possible defects in assembly or fasteners, provided the product was assembled correctly according to instructions. Repair, labour for product repair and/ or parts replacement. |  | ☐ Yes ☐ No | Insert details of relevant confirmation on warranty validity |  |
| Warranty Service Within the warranty period, the Supplier or its authorised service centre shall provide maintenance and/ or repair services to the products on site not later than 10 (ten) workdays from the date of receipt of the written or E-mail notification from an authorised party. The name of the company, address, telephone and fax numbers, and e-mail address must be provided in the bid. All costs connected with warranty maintenance are covered by the Supplier. |  | ☐ Yes ☐ No | Insert details of relevant information/ confirmation on warranty service |  |

Delivery requirements –– Comparative Data Table

| UNOPS Requirements |  |  |
| --- | --- | --- |
| Delivery time | Bidders shall deliver the goods 4 months from the date of Contract/PO signature. |  |
| Delivery place and Incoterms rules | All Goods and Services shall be supplied in Pristina, Kosovo. The exact address will be provided upon Contract Signature. DAP (Delivered at Place) + Unloaded, Pristina, Kosovo. |  |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/-20%, without any change in the unit prices or other terms and conditions of the ITB. |  |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

- _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this bid and bind [insert full name of bidder] should UNOPS accept this bid:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________