|  |
| --- |
| **Request for Quotation (RFQ)**  **for**  **Goods/Services** |
| **The Sub-Project Is To:**  **Supply, Deliver and Testing of HDPE Pipes, Fittings and Valves of various Diameters, complete with all required connections, gaskets, bolts and accessories, to be delivered to National Water & Sanitation Authority – Haswin Branch - NWSA- Haswin’s Warehouses, Haswin District - Al Maharah Governorate.**    **SUB PROJECT ID NO.**  **(****IUS-AF2-UWS-** **HSWN -003)** |
|  |

**Section III: Returnable Bidding Forms**

The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their Quotation.

This Section comprises the following Returnable Bidding Forms:

* Form A: Quotation Submission Form
* Form B: Price Schedule Form
* Form C: Technical Quotation Form
* Form D: Previous Experience Form
* Form E: Joint Venture Partner Information Form
* Form G: Manufacturer’s authorization Form
* Form H: Bid Securing Declaration
* Form I: Independent Bid Declaration
* Form J: United Nations Supplier Code Of Conduct Declaration

**Form A: Quotation submission form**

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]

***Subject:*** ***Supply, Deliver and Testing of HDPE Pipes, Fittings and Valves of various Diameters, complete with all required connections, gaskets, bolts and accessories, to be delivered to National Water & Sanitation Authority – Haswin Branch - NWSA- Haswin’s Warehouses, Haswin District - Al Maharah Governorate.***

RFQ Case No. [Insert RFQ ref. number], dated **[insert date]**

We, the undersigned, declare that:

* 1. We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract;
  2. Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in Section I: RFQ Particulars, Period of Validity of Quotations] from the date fixed for the submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;
  3. We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS. [If you have any actual or potential conflict of interest as defined in Article 3 of Section II: Instructions to Bidders, please disclose it here];
  4. Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;
  5. Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;
  6. We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact;
  7. We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future;
  8. We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [***insert full name of bidder***] to sign this quotation and bind [***insert full name of bidder***] should UNOPS accept this quotation:

Name: [complete]

Title: [complete]

Date: [complete]

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]

Title: [complete]

Email address: [complete]

Telephone: [complete]

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

RFQ reference no: [insert RFQ reference No.]

|  |  |
| --- | --- |
| **Currency** | **USD** |

**IUS-AF2-UWS- HSWN -003: Supply, Deliver and Testing of HDPE Pipes, Fittings and Valves of various Diameters, complete with all required connections, gaskets, bolts and accessories, to be delivered to National Water & Sanitation Authority – Haswin Branch - NWSA- Haswin’s Warehouses.**

| **IUS-AF2-UWS- HSWN -003: Supply, Deliver and Testing of HDPE Pipes, Fittings and Valves of various Diameters, complete with all required connections, gaskets, bolts and accessories, to be delivered to National Water & Sanitation Authority – Haswin Branch - NWSA- Haswin’s Warehouses.** | | | | | |
| --- | --- | --- | --- | --- | --- |
| No. | ITEM | Unit | Qty. | Unit rate DAP  ($) | Total Cost DAP  ($) |
| **1** | **SUPPLY, DELIVER AND TESTING OF HDPE PIPES, FITTINGS AND VALVES OF VARIOUS DIAMETERS, COMPLETE WITH ALL REQUIRED CONNECTIONS, ACCESSORIES** | | | | |
| **1.1** | **HDPE Pipes according to Technical Specifications and according to the following dimensions:** |  |  |  |  |
| 1.1.1 | Ø 160mm, PE100, SDR 11, PN16, (12m Pipe Length) | m | 1000 | insert | insert |
| 1.1.2 | Ø 110mm, PE100, SDR 11, PN16, (100m roll Pipes Length) | m | 1000 | insert | insert |
| 1.1.3 | Ø 90mm, PE100, SDR 11, PN16, (100m roll Pipes Length) | m | 500 | insert | insert |
| 1.1.4 | Ø 63mm, PE100, SDR 11, PN16, (100m roll Pipes Length) | m | 400 | insert | insert |
| 1.1.5 | Ø 32mm, PE100, SDR 11, PN16, (100m roll Pipes Length) | m | 400 | insert | insert |
| 1.1.6 | Ø 25mm, PE100, SDR 11, PN16, (100m roll Pipes Length) | m | 400 | insert | insert |
| **1.2** | **Compression Fittings for HDPE Pipes according to Technical Specifications** |  |  |  |  |
| 1.2.1 | **Coupling**, Compression Fittings, PN16, according to the following dimensions: |  |  |  |  |
| 1.2.1.1 | DN 110mm | No. | 20 | insert | insert |
| 1.2.1.2 | DN 90mm | No. | 20 | insert | insert |
| 1.2.1.3 | DN 63mm | No. | 100 | insert | insert |
| 1.2.1.4 | DN 32mm | No. | 250 | insert | insert |
| 1.2.1.5 | DN 25mm | No. | 250 | insert | insert |
| 1.2.2 | **Reducing Coupling**, Compression Fittings, PN16, according to the following dimensions: |  |  |  |  |
| 1.2.2.1 | DN 110mm x DN 90mm | No. | 20 | insert | insert |
| 1.2.2.2 | DN 90mm x DN 63mm | No. | 20 | insert | insert |
| 1.2.2.3 | DN 63mm x DN 32mm | No. | 50 | insert | insert |
| 1.2.2.4 | DN 63mm x DN 25mm | No. | 50 | insert | insert |
| 1.2.2.5 | DN 32mm x DN 25mm | No. | 100 | insert | insert |
| 1.2.3 | **Male Adaptor (mm x inch) BSP male**, Compression Fittings, PN16, according to the following dimensions: |  |  |  |  |
| 1.2.3.1 | DN 63mm x 2” | No. | 20 | insert | insert |
| 1.2.3.2 | DN 32mm x 1” | No. | 100 | insert | insert |
| 1.2.3.3 | DN 25mm x ¾” | No. | 100 | insert | insert |
| 1.2.4 | **Equal Tee**, Compression Fittings, PN16, according to the following dimensions: |  |  |  |  |
| 1.2.4.1 | DN 100mm | No. | 10 | insert | insert |
| 1.2.4.2 | DN 90mm | No. | 10 | insert | insert |
| 1.2.4.3 | DN 63mm | No. | 50 | insert | insert |
| 1.2.4.4 | DN 32mm | No. | 100 | insert | insert |
| 1.2.4.5 | DN 25mm | No. | 100 | insert | insert |
| **1.3** | **HDPE Electrofusion Fittings for HDPE Pipes according to Technical Specifications** |  |  |  |  |
| 1.3.1 | **HDPE Electrofusion Coupling**, PE100, SDR11, PN16, according to the following dimensions: |  |  |  |  |
| 1.3.1.1 | DN 160mm | No. | 20 | insert | insert |
| **1.4** | **Restraint Coupling & Flange Adaptor (used for HDPE) according to Technical Specifications** |  |  |  |  |
| 1.4.1 | **Restraint Coupling,** according to the following dimensions: |  |  |  |  |
| 1.4.1.1 | DN 150mm | No. | 15 | insert | insert |
| 1.4.1.2 | DN 100mm | No. | 15 | insert | insert |
| 1.4.1.3 | DN 80mm | No. | 15 | insert | insert |
| 1.4.2 | **Restraint Flange Adaptor,** according to the following dimensions: |  |  |  |  |
| 1.4.2.1 | DN 150mm | No. | 30 | insert | insert |
| 1.4.2.2 | DN 100mm | No. | 30 | insert | insert |
| 1.4.2.3 | DN 80mm | No. | 30 | insert | insert |
| **1.5** | **Flanged Gate Valve according to Technical Specifications** |  |  |  |  |
| 1.5.1 | **Flanged Gate Valve,** according to the following dimensions: |  |  |  |  |
| 1.5.1.1 | DN 150mm | No. | 15 | insert | insert |
| 1.5.1.2 | DN 100mm | No. | 15 | insert | insert |
| 1.5.1.3 | DN 80mm | No. | 15 | insert | insert |
| **Total Cost DAP National Water & Sanitation Authority –** **Haswin Branch, NWSA – USD** | | | | | insert |

Payment terms 30 days accepted: ☐ Yes

**Bidder’s discount for accelerated payment:** \_\_\_\_% of total firm price for each calendar day less than thirty (30) days

**List of subcontractors or suppliers**

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

1. \_[Full legal name and address of subcontractors]\_\_\_\_\_\_\_\_\_\_\_
2. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
3. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

I, the undersigned, certify that I am duly authorized by [***insert full name of Bidder***] to sign this quotation and bind [***insert full name of Bidder***] should UNOPS accept this quotation:

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

# Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

Bidders are required to complete the **Comparative Data Tables** included in Section III: Schedule of Requirements to demonstrate compliance with UNOPS requirements and insert them below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

**Technical specifications for goods – Comparative Data Table:**

**IUS-AF2-UWS- HSWN -003: Supply, Deliver and Testing of HDPE Pipes, Fittings and Valves of various Diameters, complete with all required connections, gaskets, bolts and accessories, to be delivered to National Water & Sanitation Authority – Haswin Branch - NWSA- Haswin’s Warehouses.**

| **IUS-AF2-UWS- HSWN -003: Supply, Deliver and Testing of HDPE Pipes, Fittings and Valves of various Diameters, complete with all required connections, gaskets, bolts and accessories, to be delivered to National Water & Sanitation Authority – Haswin Branch - NWSA- Haswin’s Warehouses.** | | | | | |
| --- | --- | --- | --- | --- | --- |
| **Item** | **Specifications required** | **Is quotation compliant?** *Bidder to complete* | | | **Bidder’s Offer specifications** *Bidder to complete* |
| **ITEM#1: HDPE Pipes and fittings according to Technical Specifications:** | | | | | |
|  | Date of manufacture: New (2024 | | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Manufacturer/Brand | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Country of origin: | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Pressure Rating: | PN16 (16 bar) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | HDPE Pipes | shall be grades (PE. 100) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | The standard for PE Pipes should be conform to: | DIN EN 12201; ISO 11922-1; DIN 8074; EN 12201-1/2. (or equivalent international standards) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | The standard for threads should be conform to: | DIN EN 10226 (ISO 7-1); BS 21; AS 1722.1. (or equivalent international standards) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | The standard for flanges should be conform to: | DIN EN1092-1; DIN 2501.1. (or equivalent international standards) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | The standard for test should be conform to: | ISO 17885; DIN 8076-3; AS/NZS 4129. (or equivalent international standards) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Use: | for drinking water | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | HDPE Pipes | Minimum Required Strength (MRS) 10 Mpa. | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | The density (PE 100) | should not be less 0.95 ̴ 0.965 g/cm | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | The pipe | shall contain no recycled compound. | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | The bidder confirms that the Size pipes and fittings as per the BoQ of this Lot. | | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Generally Marking the pipes and fittings have to be marked according to DIN 8074 No.8. intervals not exceeding 4 m the minimum marking should indicate: | Manufacturer, material,  Applicable Standards  Dimensions,  date of manufacture  PN, SDR values | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | The bidder confirms that the manufacturer quality control test results and report Should be Provided | | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | The bidder confirms that their quote for this Lot related to the High-Density Polyethylene (HDPE) Pipes is as per Section II: Schedule of Requirements | | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| **ITEM#2: Compression Fittings for HDPE Pipes according to Technical Specifications** | | | | | |
|  | Date of manufacture | | New (2024 | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Manufacturer | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Country of origin | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Pressure Rating: | PN16 (16 bar) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Coupling, Compression SHOULD be: | designed specifically for connecting polyethylene pipes with an outside diameter from 16 to 110mm | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Suitable for use with all types of polyethylene pipes PE 80, PE 100, PEX and PVC-U. | | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | SIZE | As BoQ | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of (Body AND Bush Ring) | PP-B | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Clamping Ring | POM) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| **ITEM#3: HDPE Electrofusion Fittings for HDPE Pipes according to Technical Specifications** | | | | | |
|  | Date of manufacture | | New (2024 | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Manufacturer | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Country of origin | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Pressure Rating: | PN16 (16 bar) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | SIZE | As BoQ | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Pin Connectors: | 4 mm | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Suitable for use with all types of polyethylene pipes PE 100 | | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| **ITEM#4: Restraint Coupling & Flange Adaptor (used for HDPE) according to Technical Specifications** | | | | | |
|  | Date of manufacture | | New (2024 | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Manufacturer | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Country of origin | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Pressure Rating: | PN16 (16 bar) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | SIZE | As BoQ | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Angular Deflection: | Not Less Than 1.5 deg. | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Restraint Coupling & Flange Adaptor are suitable for use in potable water and Wastwater pipelines | | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Restraint Coupling & Flange Adaptor are designed to provide full restraint connectivity for polyethylene pressure pipes. | | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of End Ring: | Ductile Iron, FBE Coated | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Grip Ring: | Copper Alloy | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Bolts: | 316 SSS – Delta Seal Coating | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Elastomeric Seals: | EPDM | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Barrel: | Ductile Iron, FBE Coated | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
| **ITEM # 5: Flanged Gate Valve according to Technical Specifications** | | | | | |
|  | Date of manufacture | | New (2024 | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Manufacturer | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Country of origin | | | To be inserted by bidder | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Pressure Rating: | PN16 (16 bar) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | SIZE | As BoQ | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Angular Deflection: | Not Less Than 1.5 deg. | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Flanged gate valve for drinking water and neutral liquids to max. 70°C | | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of (Wiper ring and  O-ring) | NBR rubber | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Bushing | Polyamide | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Thrust collar &Wedge nut | Brass, DZR CW602N | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Stem seal &Bonnet gasket | EPDM rubber | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Stop ring, Stem  Bonnet & bolt | Stainless steel 316L | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |
|  | Materials of Bonnet, Body &  Wedge core | Ductile iron GJS-500-7 (GGG-50) | | ☐ Yes ☐ No | Insert details of goods offered, including specifications, picture, and brand/model offered if applicable |

**Delivery requirements – Comparative Data Table:**

|  |  |  |  |
| --- | --- | --- | --- |
| **UNOPS Requirements** | | **Is quotation compliant? Bidder to complete** | **Details**  **Bidder to complete** |
| **Delivery time** | The Bidder shall deliver the goods ***within 6 months*** after the Contract signature. | ☐ Yes ☐ No | Insert details |
| **Delivery place and Incoterms rules** | DAP as per Incoterms 2020 at ***National Water & Sanitation Authority – Haswin Branch - NWSA-* Haswin*’s Warehouses,* Haswin *District - Al Maharah Governorate.*** | ☐ Yes ☐ No | Insert details |
| **UNOPS Right to vary requirements** | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- [20%] , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in **Section III: Schedule of Requirements**.

☐ Yes ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

# Form D: Previous experience form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

Previous experience: The bidder should have successfully completed at least two (2) similar projects within the last five (5) years from the date of the bid opening. At least one of the previous contracts should be a minimum of USD 100,000 value. (Similar means Solar system Supplies or Equipment Supplies) In case of Joint Venture (JV), all joint venture members

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Description of services/goods** | **Country** | **Total amount of Contract** | **Contract Identification and Title and**  **Contact details of Client**  **(Name, Address, telephone, email, fax)** | **Year project was undertaken** |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Form E : Joint Venture Partner Information Form**

[The Offeror shall fill in this Form in accordance with the instructions indicated below]

RFP reference no: [insert RFP reference No.]

Name of Offeror: [insert name of Offeror]

Date: [insert submission date]

To be completed and returned with your Proposal if the Proposal is submitted as a Joint Venture/Consortium/Association.

|  |  |
| --- | --- |
| **JV / Consortium/ Association Information** | |
| **Name** | [complete] |
| **Names of each partner and contact information**  (address, telephone numbers, fax numbers, e-mail address) | [complete] |
| **Name of leading** partner (with authority to bind the JV, Consortium, Association during the RFP process and, in the event a Contract is awarded, during contract execution) | [complete] |
| **Proposed proportion of responsibilities between partners (in %) with indication of the type of the services to be performed by each** | [complete] |

**Signatures of all partners of the JV:**

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Name of partner: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Form G: Manufacturer’s Authorization Form**

A letter issued by the manufacturer authorizing the applicant to participate in this particular ITB must be submitted with the bid in the format provided in this Form.

To be eligible for delivery of goods, the bidder must be either the manufacturer of the offered goods or a sole representative of the manufacturer to the United Nations. Should offers for a particular make and model be received from more than one appointed representative, UNOPS reserves the right to select only one.

ITB reference no: [insert ITB reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To: UNOPS

**WHEREAS**

We ***[insert complete name of manufacturer***], who are official manufacturers of [***insert type of goods manufactured],*** having factories at ***[insert full address of manufacturer’s factories***], do hereby authorize ***[insert complete name of bidder]*** to submit a bid the purpose of which is to provide the following goods, manufactured by us ***[insert name and or brief description of the goods]***, and to subsequently negotiate and sign the contract.

We hereby extend our full guarantee and warranty in accordance with Clause 4.5 of the General Conditions of Contract for the Provision of Goods, with respect to the goods offered by the above firm.

Signed: [***insert signature(s) of authorized representative(s) of the manufacturer]***

Name***: [insert complete name(s) of authorized representative(s) of the manufacturer]***

Title: ***[insert title]***

Dated on \_\_\_\_\_\_\_\_\_\_\_\_ day of \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_, \_\_\_\_\_\_\_ ***[insert date of signing]***

**From H: Bid Securing Declaration**

Date: [Insert date]

Tender reference number: [Insert UNOPS tender reference number]

We, the undersigned, declare that:

1. We understand that, according to your conditions, offers must be supported by a bid securing declaration.
2. We accept that we could be declared ineligible to participate in future UNOPS tenders in accordance with the regulations stipulated in the Procurement Manual section 3.3 Vendor Ineligibility if we violate our obligation (s) under the conditions of the offer if:
3. we withdraw our offer during the period of the offer validity specified by us in the offer submission form; or
4. we do not accept the correction of errors in accordance with the Instructions to Bidders in the bidding documents; or
5. after having been notified of the acceptance of our offer during the period of bid validity thereof, (i) we do not execute or refuse to execute the Contract form, if required; or (ii) we do not supply or refuse to provide the performance security.
6. We understand that this bid securing declaration will expire if we are not the successful bidders, and when one of the following events occurs first: (i) we receive a copy of your notification with the name of the successful bidder; or (ii) twenty-eight days have elapsed after the expiration of our offer.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this bid and bind [insert full name of bidder] should UNOPS accept this bid:

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Title : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**FORM I: INDEPENDENT BID DECLARATION**

Bid for the ***: Supply, Deliver and Testing of HDPE Pipes, Fittings and Valves of various Diameters, complete with all required connections, gaskets, bolts and accessories, to be delivered to National Water & Sanitation Authority – Haswin Branch - NWSA- Haswin’s Warehouses, Haswin District - Al Maharah Governorate.***

RFQ ref . ***RFQ/2025/XXXX ,*** dated ***[insert date]***

The undersigned, on submission of a bid for the competitive procurement process or invitation to bid (hereinafter referred to as “the bid”) for the *[insert brief description of the goods and/or services]* in *[name of country/city] –* invitation to bid no.: [insert invitation to bid ref. no.], in response to the call for bids made by the United Nations Office for Project Services (UNOPS), I hereby make the following statements, which I declare to be true and complete in all respects.

On behalf of [name of bidder or joint venture], hereinafter “the Bidder”, **I declare** that:

1. I understand that the bid submitted shall be disqualified if this statement is found not to be true and complete in all respects.
2. I am authorized by the Bidder to sign this declaration and to submit the attached bid on behalf of the Bidder.
3. Each person whose signature appears on the submitted bid has been authorized by the Bidder to establish its terms and to sign it on behalf of the Bidder.
4. For the purposes of this statement and the bid submitted, I understand that the word “competitor” shall include any natural or legal person, other than the Bidder, whether affiliated with the Bidder or not, who:
5. has been asked to submit a bid in response to this invitation to bid
6. might potentially submit a bid in response to this invitation to bid, based on their qualifications, skills or experience.
7. The Bidder discloses that (select the appropriate option from the following subsections, 5 (a) or 5 (b)):
8. The Bidder has submitted the bid independently and without consultation, communication, agreement or arrangement with any competitor: YES ☐ NO ☐
9. The Bidder has entered into consultation, communication, agreement or arrangement with one or more competitors with respect to this invitation to bid, full details of which the Bidder discloses in the accompanying documents, including the names of the competitors and the nature of and reasons for such consultation, communication, agreement or arrangement: YES ☐ NO ☐
10. In particular, and without limiting the generality of paragraphs 5 (a) or 5 (b) above, there has been no consultation, communication, agreement or arrangement with any competitor with respect to:
11. prices
12. methods, factors or formulas used to calculate prices
13. the intention or decision to submit a bid or not, or
14. the submission of a bid that does not meet the specifications of the invitation to bid, except as specifically disclosed under paragraph 5 (b) above.
15. In addition, there has been no consultation, communication, agreement or arrangement with any competitor as to the quality, quantity, specifications or delivery details for the products or services to which this invitation to bid relates as specifically disclosed under paragraph 5 (b) above.
16. The terms of the bid submitted have not been and shall not be knowingly disclosed by the Bidder, whether directly or indirectly, to any competitor prior to the date and time of the official bid-opening ceremony, or contract-awarding ceremony, whichever comes first.
17. I declare that the company I represent has commercial links with the following
18. corporations: [indicate the corporations that may or may not submit a bid for the purpose of this invitation to bid, detailing their commercial names and the type of links that exist with them.[[1]](#footnote-1) If there are no commercial links with any corporations, please enter “None”].

The above statements are also true and complete for the members of the joint venture: YES ☐ NO ☐ [If the answer is NO, details must be included of the members for whom any of the above statements are not met. This paragraph may be deleted if the Bidder is not a joint venture].

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Position : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**FORM J: UNITED NATIONS SUPPLIER CODE OF CONDUCT DECLARATION OF ELIGIBILITY**

**UNOPS expects all bidders to act in accordance with the highest ethical standards throughout the competitive procurement process, as well as during the validity of any contract that may be awarded to them through the process. Therefore, all bidders must declare and ensure the following.**

**If the bidder’s status in relation to this declaration changes, it must inform UNOPS immediately. Failure to comply with this requirement shall automatically render the bidder ineligible. This document does not require notarization.**

Bid for the

***Supply, Deliver and Testing of HDPE Pipes, Fittings and Valves of various Diameters, complete with all required connections, gaskets, bolts and accessories, to be delivered to National Water & Sanitation Authority – Haswin Branch - NWSA- Haswin’s Warehouses, Haswin District - Al Maharah Governorate.***

RFQ ref . ***RFQ/2025/XXXX ,*** dated ***[insert date]***

The undersigned, on submission of a bid for the competitive procurement process or invitation to bid (hereinafter referred to as “the bid”) for the *[insert brief description of the goods and/or services]* in *[name of country/city] –* invitation to bid no.: Invitation to bid no.: [insert invitation to bid ref. no.], in response to the call for bids made by the United Nations Office for Project Services (UNOPS), I hereby make the following statements:

1. We have not and shall not engage in proscribed practices in connection with the UNOPS competitive procurement processes. For the purposes of this provision, a “proscribed practice” means any of those listed on the UNOPS website under “Vendor Sanctions”, including those listed below:

* Corrupt practice: the offering, giving, receiving, or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party.
* Fraudulent practice: any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation.
* Coercive practice: any act or omission that impairs or harms, or threatens to impair or harm, directly or indirectly, any party or the property of the party to improperly influence the actions of a party.
* Collusive practice: an arrangement between two or more parties designed to achieve an improper purpose, including influencing improperly the actions of another party.
* Unethical practice: conduct or behaviour that is contrary to the conflict of interest, gifts and hospitality, post-employment provisions or other published requirements of doing business with UNOPS.
* Obstruction: acts or omissions by a vendor that prevent or hinder UNOPS from investigating instances of possible proscribed practices.

1. We understand that in the event of any breach of these declarations or guarantees, UNOPS shall have the right to reject any bid submitted by us and may terminate any contract awarded to us as a result of any competitive procurement process, giving immediate notice thereof, and that UNOPS shall not be liable for termination charges or any other charges. In addition, UNOPS may exclude us from future work with the organization or other entities within the United Nations system.
2. We commit to adhering to the highest ethical standards during the execution of any contract, in accordance with point *40. Ethics and corrupt practices* of *Section II: instructions to bidders* of the bidding document.
3. We understand that UNOPS may cancel or terminate the contract, without penalty and without notice, if we are found to have engaged in collusion, corrupt practices or unethical behaviour, and may also declare us – both our organization and its board of directors and/or individual staff – ineligible indefinitely or for a limited period of time. We understand that UNOPS may also cancel or rescind contracts for the same reason.
4. We shall not employ, nor do we plan to employ, any person who has been a United Nations official in the past year. If an employee has been a United Nations official, they shall have had no professional relationship with us in the last three (3) years of their service with the United Nations.

The above statements are also true and complete for the members of the joint venture: YES ☐ NO ☐ [If the answer is NO, details must be included of the members for whom any of the above statements are not met. This paragraph may be deleted if the Bidder is not a joint venture].

Name : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Position : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature : \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. Bidders with commercial links are **required** to clearly state such links. Failure to do so may be interpreted as a proscribed practice as set out in Section 1.5.3.2 of the UNOPS Procurement Manual. [↑](#footnote-ref-1)