

AFR-ETOH-Sudan

**Clarification 1 of 1 to the ITB Upgrading and Rehabilitating the Existing Health Facilities and Basic Health Services in Selected return sites in the five Sates of Darfur**

**ITB/RFP Reference No.: ITB# UNOPS-SDN-20512-001-WORKS-ITB-2017-001**

**Date: September 30, 2017**

Dear Bidders,

Please note the below raised questions and our official responses in connection to the aforementioned

Invitation To Bid.

|  |  |  |
| --- | --- | --- |
| # | Query | Clarification |
| 1 | Bid security is not mentioned in the bid document. | Bed security is not required for participation in this ITB |
| 2 | Will there be public bid opening? | There will not be a Public Bid Opening for this ITB as mentioned in the Bid Particulars in Section 1 |
| 3 | Where are the exact locations of the three projects (detailed description or coordinates if possible) | **Abu Rumail:**  N: 14° 22’ 0.05”  E : 22° 55’ 0.32”  **Bega :**  N: 12° 36’ 54.3”  E: 23° 17’ 21.1” |
| 4 | Should the submission include VAT? | Submissions should not include VAT. UNOPS as a UN agency is exempted from paying taxes. |
| 5 | What is the thickness of the chain-link of the item 5.4 in Anjemi BoQ | The thickness of the chain-link 3 mm as mentioned in the details of the item 5.4 in the same BoQ |
| 6 | Confirm whether the measuring units of items 4.4 and 4.5 in Beiga BoQ are correct. | Measuring units are correct, but Items 4.4 and 4.5 in Beiga BOQ to be changed to read as below   |  |  |  |  | | --- | --- | --- | --- | | Item | Description | Unit | Qnty | | 4.4 | supply and install in the length of the veranda (L shape), rectangular steel pipes 6cm x 3cm in veranda and fix the old zinc roof on it by using nails (grill), to be 4 nos in the veranda roof and 1 nos in veranda fascia | LM | 114 | | 4.5 | Supply and fix 0.4 mm thickness corrugated iron sheets,40 cm width to be fixed at veranda fascia  by Fabricate zinc fascia by the length of veranda L shape | M2 | 12 | |
| 7 | Are years of experience (3 years) a prerequisite for participation in this ITB | No. |

This shall form part of the official solicitation documents. Please be guided accordingly. Thank you.