ANNEX IIA: SCOPE OF WORKS

DOCUMENT FOR SCOPE OF WORKS INCLUDE; TECHNICAL SPECIFICATIONS FOR THE CONSTRUCTION OF 3No. POLICE COMMUNICATIONS POSTS IN VARIOUS PARTS OF PIGI COUNTY – JONGLEI STATE, SOUTH SUDAN

Introduction – The police communications posts referred to in the Bills of Quantities and the Technical Specifications are planned under UNDP funded project and implemented by United Nations Office for Project Services (UNOPS).

| Sr.No | Location | County/Payam | Work Scope |
| --- | --- | --- | --- |
| 1 | Wunlem, Alam and Atar | Pigi County | Construction of 3No. Police communication posts in Pigi County |

Scope of Works – Supply all labour, materials and equipment for construction of 3No. Police communications posts in Pigi County including all the required finishes to the approval of UNOPS’ Engineers and/or described in Bills of Quantity here with attached. All works should comply with the descriptions in the technical Specifications and Bills of Quantity to meet the following main completion status.

Construction of Three (3) Police communication posts in Pigi County

- Footing-Casting by using reinforced concrete as detailed on the drawings

- Slab-Casting by using reinforced concrete to receive the cement sand screed with smooth finish and detailed in specification & drawings

- Wall-Using the concrete cement block to receive the sand cement render with smooth finish as detailed on specification, drawings & BOQ.

- Roof-Supply and fixing of well prepared steel structure for the roof and followed by Gauge 26 pre-painted corrugated G.I. roofing with related accessories as detailed on specification, drawings & BoQ.

- All works associated with ceiling installations as specified in the BoQ.

- Doors and Windows-Supply and fixing of reinforced steel door units made of hard rigid steel as detailed in specification, drawings & BoQ comprising of required approved door ironmongery and painting to receive the Engineer’s approval.

- Finishes-Floor screed, wall plaster and render as detailed in specification, drawings and BoQ.

NOTE: The contractor is strongly advised to visit the sites before submitting a completed bid documents. The client will take no liability for failure to go to visit the site.

.

Site cleaning – All excess construction materials on site are to be removed and site left neat and tidy after completion of the works.