## SUMMARY
The Bill of Quantities
LOT 2 Construction of Solid Waste Transfer Station in YAYLADAĞ/HATAY
Civil Works | 0
Mechanical Works | 0
Electrical Works | 0
Total estimated price | 0

## Civil Works
Item/Pose No | Item | Unit | Quantity | Unit Price | Total Price
Civ01 | Excavation works | cubic meter | 12400 |  | 0
Civ02 | Watering and compaction of any type of soil | cubic meter | 3300 |  | 0
Civ03 | Backfill with all in aggregate including transportation | cubic meter | 3300 |  | 0
Civ04 | Formation of base layer ((with crushed and screened quarry stone (1 inch)) including transportation | cubic meter | 855 |  | 0
Civ05 | Plant-Mix Subbase production including transportation (with crushed and screened quarry stone) | cubic meter | 1710 |  | 0
Civ06 | Supply of gravel and flooring, watering and compaction by machine including transportation | cubic meter | 907.6 |  | 0
Civ07 | Laying the sub base and base material | cubic meter | 1710 |  | 0
Civ08 | Readymix concrete placement meeting the compressive strength requirements of C 16/20, including procurement, delivery, concrete pump and placement. | cubic meter | 425 |  | 0
Civ09 | Concreting of C 30/37 compressive strength class concrete being manufactured at a concrete plant or purchased (including concrete transport) | cubic meter | 1620 |  | 0
Civ11 | 30 cm thick CMU wall construction with non-reinforced lightweight concrete blocks (With lightweight block adhesive) (2,50 N/mm² and 400 kg/m³) | square meter | 39 |  | 0
Civ12 | Hot-dip galvanized, corrugated / trapezoidal sheet and roof covering with epoxy paint made of 0.50 mm thickness on the existing roof covering on concrete slabs and/or steel structures | square meter | 685 |  | 0
Civ13 | Ø 200 mm nominal diameter, PVC-based corrugated drainage pipe and its placement | meter | 350 |  | 0
Civ14 | Two layers of dampproofing application of 3 and 4 mm thick elastometric polymer modified bitumen sheet (-20 degrees cold rolled) with mat reinforcement | square meter | 241 |  | 0
Civ15 | Laying of 150 gr/m2 geotextile felt | Square meter | 550 |  | 0
Civ16 | Supply and replacement of HDPE based drainage and protection sheet on waterproofing of basement curtains (200 dpressure resistance <250 KN / m2) | square meter | 264 |  | 0
Civ17 | 5 cm thick surface roughness or rough channel extruded polystyrene plates (XPS - 200 kPa compressive strength) with external thermal insulation on the outside walls and heat insulation plaster (mantolama) | square meter | 76 |  | 0
Civ18 | Thermal insulation of 5 cm thick surface (XPS - 300 Kpa compressive strength) and horizontal (on ground floor (earth contact) floors or reverse terrace roofs) | square meter | 24.5 |  | 0
Civ19 | Mesh reinforced elastometric resin based liquid applied dampproof plastic coating, 3 layers, 1,5 mm total thickness | square meter | 466 |  | 0
Civ20 | Production of reinforced concrete plain surface form works with plywood | square meter | 4650 |  | 0
Civ21 | Mold Scaffolding from steel pipe (between 0.00 – 4.00 m) | cubic meter | 1640 |  | 0
Civ22 | Mold Scaffolding from steel pipe (4.01 – 6.00 m) | cubic meter | 2965 |  | 0
Civ23 | Mold Scaffolding from steel pipe (6,01-8,00m) | cubic meter | 3244 |  | 0
Civ24 | Assembly of prefabricated exterior scaffolding with full safety measures (0,00-51,50 m height) | square meter | 795 |  | 0
Civ25 | Assembly of prefabricated ceiling scaffolding with full safety measures (0,00-21,50 m height). | square meter | 1990 |  | 0
Civ26 | Ribbed wire mesh (1.50-3.00 kg/m2) Installation (including 3.00 kg / m2) including transportation | Ton | 30 |  | 0
Civ27 | Cutting, bending and placement of Ø 8- Ø 12 mm deformed concrete steel bars | Ton | 48.5 |  | 0
Civ28 | Cutting, bending and placement of Ø 14- Ø 28 mm deformed concrete steel bars | Ton | 95.7 |  | 0
Civ29 | Making and replacing various iron works from iron band,hollow section and steel profile | kg | 16150 |  | 0
Civ30 | PVC Doors, Windows and Frames | kg | 91 |  | 0
Civ31 | Nodular cast iron grates for rain water drainage | kg | 1810 |  | 0
Civ32 | Supply and replacement of rigid PVC rain pipe with a diameter Ø 100 mm | meter | 6.6 |  | 0
Civ33 | 0.50 mm thick, hot-dip galvanized on the flat sheet made of seamless seamless groove construction and installation (Sheet width 30 cm total) | meter | 21 |  | 0
Civ34 | Two layers of anticorrosive, two layers of synthetic paint on iron surfaces | square meter | 1375 |  | 0
Civ35 | Application of two coats of water-based matte paint on the new plaster surfaces (interior) | square meter | 76 |  | 0
Civ36 | Water based exterior paint with silicone additives to be applied on concrete, plaster, stucco or existing paint with primer (Exterior surfaces) | square meter | 65.5 |  | 0
Civ37 | First class, all type, color and texture, 40 x 40 cm ceramic tile and wall & floor tile with 3 mm joint installation (With tile adhesive) | square meter | 27 |  | 0
Civ38 | Made of marble aggregated concrete, ready made, equipped with flat sheet, window sill, parapet or a scoop (all kinds of surface treatment) | square meter | 1.95 |  | 0
Civ39 | Covering with 8 cm height normal cement steam cured concrete paving stone (every size, color and pattern) | square meter | 424 |  | 0
Civ40 | Paving 30 x 10 x (Project specific) cm, steam cured, regular cement concrete gutter stone (All colors) | meter | 410 |  | 0
Civ41 | Plastering with 250/350 kg cement dosage, coarse and fine mortar (exterior plastering) | square meter | 11 |  | 0
Civ42 | Plastering with 200/250 kg lime / cement mixture, coarse and fine mortar (interior wall plastering) | square meter | 76 |  | 0
Civ43 | 200 kg cement dose levelling coat | square meter | 25 |  | 0
Civ44 | Installation of double-glazed glass window unit with 4 + 4 mm thickness, 12 mm spacing to PVC and aluminum joinery profile | square meter | 0.4 |  | 0
Civ45 | Formation of steam cured 500 Dose Precast Manhole base (h=0.6m, with rubber joints ) with Ø 200 outlet (one out and one inlet) | piece | 10 |  | 0
Civ46 | Formation of steam Cured 500 Doses Precast Manhole Riser (h= 0.50 m, Joints with 600 Dose Mortar) | piece | 2 |  | 0
Civ47 | Formation of 500 dz. 1-meter diameter prefabricated and steam cured inspection chimney with rubber gasket and conical apparatus installation | piece | 10 |  | 0
Civ48 | Formation of steam cured, 500 dose precast manhole with structure height adjustment ring (h=specific to project, Joints with 600 Dose Mortar) | meter | 2.78 |  | 0
Civ49 | Supply and placing of BS 18 concrete (350 doses) precast concrete manhole cover with frame | piece | 10 |  | 0
Civ50 | Facade cladding with aluminium composite panel, mineral filled (without heat insulation) | square meter | 113 |  | 0
Civ51 | Permanent Project Signboard with foot pedestal | piece | 1 |  | 0
Civ52 | Supply and installation of prefabricated container buildings | L.sum | 1 |  | 0
Civ53 | Traffic sign boards | piece | 6 |  | 0
Civ54 | Panel Fence | meter | 428 |  | 0
Civ55 | Sliding Entrance Gate (Panel fence) | L.sum | 1 |  | 0
Civ56 | Supply and planting of conifer trees | piece | 40 |  | 0
Civ57 | Supply and planting of broad-leaved trees | piece | 45 |  | 0
Civ58 | Supply and planting of bushes | piece | 300 |  | 0
Civ59 | Supply and laying of top soil | cubic meter | 393 |  | 0
Civ60 | Smoked color chamfered mirror ( 5mm thickness) / Bizuteli füme renkli ayna (5 mm kalınlığında) | square meter | 16.68 |  | 0
Civ61 | Deceleration warning,stripe lines and pedestrian crossings, with 2 mm thick double component paint | square meter | 80 |  | 0
Civ62 | Supply, installation and assembly of framing construction with any type of profiled steel, steel bars and sheets | Ton | 32.75 |  | 0
Civ63 | Laying of Concrete border (chamfered, any colour) (50 x 20 x 10 cm) | meter | 229 |  | 0
Civ64 | Laying of Concrete border (chamfered, any colour) (75 x 30 x 15 cm) | meter | 498 |  | 0
Civ65 | Field concrete (concrete pavement) | cubic meter | 879 |  | 0
Civ66 | Pipe bedding-padding (side fill) with 0-30 mm fine aggregate (crushed stone) | cubic meter | 250 |  | 0
Total |  |  |  |  | 0

## Mechanical Works
Item/Pose No | Item | Unit | Quantity | Unit Price | Total Price
Mec01 | Polyethylene pipe; outside diameter Ø40 mm, PE100 class, SDR 17, PN 10 | meter | 122 |  | 0
Mec02 | Polyethylene pipe; outside diameter Ø50 mm, PE100 class, SDR 17, PN 10 | meter | 148 |  | 0
Mec03 | Polyethylene pipe; outside diameter Ø63 mm, PE100 class, SDR 17, PN 10 | meter | 108 |  | 0
Mec04 | Laying HDPE based, corrugated sewer pipe with nominal diameter of Ø 150 mm | meter | 24 |  | 0
Mec05 | Laying HDPE based, corrugated sewer pipe with nominal diameter of Ø 200 mm | meter | 144 |  | 0
Mec06 | Laying HDPE based, corrugated sewer pipe with nominal diameter of Ø 300 mm | meter | 158 |  | 0
Mec08 | Polypropylene clear water pipe; PN 20, 1/2", Ø 20/3.4 mm including installation/montage material | meter | 6 |  | 0
Mec09 | Polypropylene clear water pipe; PN 20, 3/4", Ø 25/4.2 mm including installation/montage material | meter | 26 |  | 0
Mec10 | Polypropylene clear water pipe; PN 20, 1", Ø 32/5.4 mm including installation/montage material | meter | 8 |  | 0
Mec11 | Polypropylene clear water pipe; PN 20, 11/4", Ø 40/6.7 mm including installation/montage material | meter | 6 |  | 0
Mec12 | Polypropylene clear water pipe; PN 20, 2", Ø 63/10.5 mm including installation/montage material | meter | 10 |  | 0
Mec13 | (3/4") outside diameter: 27 Ø mm, 25 mm glass wound based aluminum folio coated prefabricated pipe insulation (TS EN 14303) | meter | 8.5 |  | 0
Mec14 | (11/4") outside diameter: 42 Ø mm, 40 mm glass wound based aluminum folio coated prefabricated pipe insulation (TS EN 14303) | meter | 13.8 |  | 0
Mec15 | (2") outside diameter: 60 Ø mm, 60 mm glass wound based aluminum folio coated prefabricated pipe insulation (TS EN 14303) | meter | 10.5 |  | 0
Mec16 | Rigid PVC plastic sewage pipe with muff, outer diameter: Ø 50-40/3.00 mm (B and BD type) including installation/montage material | meter | 3 |  | 0
Mec17 | Rigid PVC plastic sewage pipe with muff, outer diameter: Ø 75-70/3.00 mm (B and BD type) including installation/montage material | meter | 6 |  | 0
Mec18 | Rigid PVC plastic sewage pipe with muff, outer diameter: Ø 100-110/3.00 mm (B and BD type) including installation/montage material | meter | 4 |  | 0
Mec19 | Rigid plastic floor sink 10X10 cm | pieces | 3 |  | 0
Mec20 | Full bore, screw type ball valve; brass, press-made, teflon (PTFE) gasket, 20 Ø mm, 3/4" | pieces | 4 |  | 0
Mec21 | Full bore, screw type ball valve; brass, press-made, teflon (PTFE) gasket, 32 Ø mm, 1 1/4" | pieces | 7 |  | 0
Mec22 | Full bore, screw type ball valve; brass, press-made, teflon (PTFE) gasket, 40 Ø mm, 1 1/2" | pieces | 22 |  | 0
Mec23 | Strainer; PN 16 (for water and vapor, cast casing) Ø 50 mm or Ø 65 mm, with flange | pieces | 1 |  | 0
Mec24 | Holding valve with flange, cast casing, Ø 50 mm or Ø 65 mm | pieces | 3 |  | 0
Mec25 | Cold water meter Ø 50 mm, with flange | pieces | 1 |  | 0
Mec26 | Hydrophore,single pump, vertical shaft, frequency converter; Flow: 0-5 m3 / h Pressure: 40-60mss | pieces | 1 |  | 0
Mec27 | Collector pipe, cold and hot water, galvanized; 3" Ø 80 mm | meter | 1 |  | 0
Mec28 | Collector mouth, Ø 50 mm | pieces | 4 |  | 0
Mec29 | Supply and installation of wall split air conditioner, UNIT 9.000 Btu/h | pieces | 4 |  | 0
Mec30 | Weighbridge with automation system | Lump-sum | 1 |  | 0
Mec31 | Full bore, screw type ball valve; brass, press-made, teflon (PTFE) gasket, 50 Ø mm, 2" | piece | 6 |  | 0
Mec32 | 23 m3 cylindrical, bolted, modular galvanized water tank (bolted) including installation/montage | piece | 1 |  | 0
0

## Electrical Works
Item/Pose No | Item | Unit | Quantity | Unit Price | Total Price
Ele01 | MDP Main Distribution Panelboard | piece | 2 |  | 0
Ele02 | Surface Mounting Type Sheet Metal Panel, 0.30 m2 | piece | 2 |  | 0
Ele03 | Selector Type Rotary Cam (Pako) Switch, 2x10 A | piece | 1 |  | 0
Ele04 | Rotary Cam (Pako) Switch, (0-1) 3x25 A | piece | 2 |  | 0
Ele05 | Contactor, 3x16 A | piece | 1 |  | 0
Ele06 | Thermic Protective Contactor, 3x10 A | piece | 2 |  | 0
Ele07 | Time limit relay used for lighting control | piece | 1 |  | 0
Ele09 | Residual current circuit breaker – up to 4x25A (300mA) | piece | 5 |  | 0
Ele10 | Residual current circuit breaker – up to 4x40A (300mA) | piece | 1 |  | 0
Ele11 | Surge protector; B Class, 230V AC, 100kA panel type | piece | 1 |  | 0
Ele12 | Automatic-controlled central compensation battery, up to 525 V | kVar | 12.5 |  | 0
Ele13 | Miniature Circuit Breaker, 1x2A, 1x10A, 1x16A | piece | 15 |  | 0
Ele14 | Miniature Circuit Breaker, 3x25A | piece | 11 |  | 0
Ele15 | Miniature Circuit Breaker, 3x40A | piece | 1 |  | 0
Ele16 | Multimeter (TS4417) | piece | 1 |  | 0
Ele17 | Current transformer, CL:0,5 n<5 10VA 40/5A | piece | 1 |  | 0
Ele18 | Signal Lamp | piece | 9 |  | 0
Ele19 | 3x25+16mm2 NYY Cable | meter | 200 |  | 0
Ele20 | 4x6mm2 NYY Cable | meter | 370 |  | 0
Ele21 | 5x4mm2 N2XH Cable | meter | 105 |  | 0
Ele22 | 5x6mm2 N2XH Cable | meter | 50 |  | 0
Ele23 | ΔL60 (6 m.) Active Lightning Arrestor | piece | 1 |  | 0
Ele24 | Down-conductor, 50mm2 electrolytic copper conductor | meter | 100 |  | 0
Ele25 | 30x3,5mm Galvanized Steel Band | meter | 50 |  | 0
Ele26 | Grounding rod, electrolytic copper | piece | 8 |  | 0
Ele27 | Conductor protection pipe (3m) | piece | 1 |  | 0
Ele28 | 150W LED Street Lighting Fixture, IP65 | piece | 13 |  | 0
Ele29 | 150W LED Projector Lighting Fixture, IP65 | piece | 2 |  | 0
Ele30 | Galvanized Steel Range Lighting Pole, h:7mt. | piece | 15 |  | 0
Ele31 | HDPE 100 corrugated pipe | meter | 70 |  | 0
Ele32 | Polythene pipe ∅ 32 mm | meter | 370 |  | 0
Ele33 | Grounding line, 16mm2 | meter | 374 |  | 0
Total |  |  |  |  | 0